| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lab has also not defined about the re-evaluation and lab not practicing the reevaluation of vendors (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why has the laboratory not re-evaluated vendors? | There is no defined procedure for vendor re-evaluation. |
| WHY | Why is there no defined procedure for vendor re-evaluation? | The importance of periodic re-evaluation was not identified during the development of vendor management procedures. |
| WHY | Why was the importance of re-evaluation not identified? | Because there was no risk-based approach or detailed quality control review in the vendor management system. |
| WHY | Why was there no risk-based approach implemented? | The laboratory staff were not trained adequately on vendor quality management and ISO compliance requirements. |
| WHY | Why was staff not trained on vendor quality management? | Because management did not prioritize training or allocate resources for vendor management compliance. |
| How | How to prevent recurrence of this NC? | - Develop and implement a documented procedure for vendor re-evaluation, specifying frequency, criteria, and methods for assessment. - Provide training to relevant staff on the importance and procedures for vendor re-evaluation. |
| How | How to ensure the effectiveness of the corrective actions? | - Conduct internal audits to verify that vendor re-evaluation practices are being followed. - Use a risk-based approach to categorize vendors and apply stricter evaluation for high-risk suppliers. |
| Root Cause: The lab management failed to recognize the importance of re-evaluating vendors and did not include it in their processes. This happened because there was no proper training or focus on vendor management requirements during procedure development. |  |  |

RCA Statement: The lab management failed to recognize the importance of re-evaluating vendors and did not include it in their processes. This happened because there was no proper training or focus on vendor management requirements during procedure development.

Reviewed by: _______________________	                           Evaluated by: ______ ______