| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed a register for recording the non-conforming work, but lab not checking the significance. (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 10-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the lab not assessing the significance of the non-conforming work? | There is no defined procedure or guideline for assessing significance. |
| WHY | Why is there no procedure or guideline for assessing significance? | The management overlooked the need for significance assessment during the development of the register. |
| WHY | Why did the management overlook the need for significance assessment? | There was a lack of awareness or training regarding the importance of significance evaluation in the non-conformance process. |
| WHY | Why was there a lack of awareness or training? | The training program for lab staff and management does not cover this critical aspect of non-conformance management. |
| WHY | Why does the training program not cover this aspect? | Training needs analysis was incomplete or improperly conducted, failing to identify this requirement. |
| How | How can we ensure the lab starts assessing the significance of non-conforming work? | - Develop and implement a procedure for assessing the significance of non-conforming work, including risk evaluation and impact analysis. - Train staff on how to apply this procedure. |
| How | How can we prevent this issue from occurring again? | - Revise the Training Needs Analysis process to ensure all critical aspects of non-conformance management are covered. - Conduct periodic audits and reviews to verify that the procedure is being followed and is effective. |
| Root Cause: The root cause is incomplete training needs analysis, which led to insufficient awareness of the importance of assessing the significance of non-conforming work. |  |  |

RCA Statement: The root cause is incomplete training needs analysis, which led to insufficient awareness of the importance of assessing the significance of non-conforming work.

Reviewed by: _______________________	                           Evaluated by: ______ ______