| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-13-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 04-02-2025 | NC No. 3 TL |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The Lab has defined its quality objectives (QCL-FRM-18.01) for the year 2024. 04 quality objectives defined by the Lab with target dates & responsibilities, but the target dates of all objectives are fixed Dec 2024 without any justification and detailed roadmap. (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 04-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| The root cause of the nonconformance is a lack of a structured and systematic approach within the Lab's quality management system to plan, justify, and document realistic target dates with clear roadmaps for achieving quality objectives. |  |  |
| - Proposed Action | Target Date: | 12-02-2025 |
| Corrective action for shortcomings on the NC has been taken by defining its quality objective (QCL-FRM-18.01) for year 2025 with target dates & responsibilities with detailed roadmap. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |