| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-14-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 01-02-2025 | NC No. 4 TL |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has developed a master list (QCL/FRM/20.02) for internal, but lab not controlled the external origin documents like standards, PNAC/ILAC guidelines etc. (NC) The lab has defined that all the documents are approved by CEO. The lab has not defined the frequency for document review. (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 01-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The lab hasn't set up a system to control and manage external documents, like standards and guidelines. They've focused only on internal documents and didn't realize that external documents need to be controlled in the same way to stay compliant and up-to-date. - The root cause of this issue is that the lab has not set a clear rule or process for how often documents should be reviewed. The focus was more on the CEO's approval rather than defining a specific review schedule. |  |  |
| - Proposed Action | Target Date: | 17-02-2025 |
| Corrective action for shortcomings on both the NCs has been taken. Lab has revised Master list (QCL-FRM-20.02) and controlled the external origin documents. The lab has revised the procedure (QCL-LSP-07) and defined the frequency for document review. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |