| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has defined that all the documents are approved by CEO. The lab has not defined the frequency for document review. (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 17-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the document review frequency not defined? | Because the lab has not established a clear frequency for document reviews. |
| WHY | Why has the lab not established a clear frequency? | The lab assumes the CEO's approval is sufficient without specifying the timing of reviews. |
| WHY | Why does the lab assume the CEO's approval is sufficient? | There is no policy or procedure in place to outline how often documents should be reviewed. |
| WHY | Why is there no policy or procedure for review frequency? | The lab did not prioritize creating a procedure for document review cycles. |
| WHY | Why did the lab not prioritize this procedure? | The lab may have been focused on other compliance areas or overlooked the need for a formal review cycle. |
| How | How can the lab address the lack of defined document review frequency? | By implementing a formal procedure that outlines the frequency of document reviews, such as annually, bi-annually, or as needed. |
| How | How can the lab ensure compliance with this frequency? | By integrating the document review frequency into the lab's quality management system and assigning responsibility for periodic reviews, possibly involving the CEO's team for timely sign-off |
| Root Cause: The root cause of this issue is that the lab has not set a clear rule or process for how often documents should be reviewed. The focus was more on the CEO's approval rather than defining a specific review schedule. |  |  |

RCA Statement: The root cause of this issue is that the lab has not set a clear rule or process for how often documents should be reviewed. The focus was more on the CEO's approval rather than defining a specific review schedule.

Reviewed by: _______________________	                           Evaluated by: ______ ______