| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-01-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 01-02-2025 | NC No. 01 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The Lab Assistant has not the requisite education, training and competency to conduct the test under scope which is volition of the clause 6.2.2 of the standard ISO/IEC 17025:2017 (NC). Mr. Ahmad Umair (CEO) is supervising the analytical activities in VAN lab as a whole without authorization permit (NC). The lab has developed an annual training Program me (QCL-FRM-2.03) checked the training record of Mr. Masab Rasheed authorized for training of the staff as mentioned in the Authorization permit (QCL/FRM-2.01) but he has no training over MU but working as a trainer over MU (NC). Lab has not defined the criteria of the selection of the trainer (NC). The lab has also developed a training need assessment form (QCL/FRM-2.02) but the criteria of the need assessment not mentioned in procedure as well as in training need assessment farm (QCL-FRM-2.02) (NC). The training record related to Measurement of uncertainty is not available in folder (QCL-FIL-20) (NC) however the records related to trainer evaluation is also missing (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 01-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - Lack of a formal process to evaluate and verify the competency, education, and training of personnel before assigning them tasks related to specific tests under the scope of ISO/IEC 17025:2017. - Lack of a robust compliance framework and clearly defined procedures for supervisory roles, including a failure to prioritize and implement internal audits. - A lack of a robust verification mechanism for ensuring that training records (QCL-FRM-2.03) are checked against the authorization permit (QCL/FRM-2.01) before assigning staff as trainers. - The lab management failed to establish and prioritize a documented process for trainer selection due to a lack of focus on human resource competency frameworks within the Lab Management System (LMS). - The development process for the training need assessment procedure and form lacked a systematic approach to ensure that criteria for assessing training needs were clearly defined and documented. This resulted from inadequate consultation, review, and validation mechanisms during the document design and approval phases. - Lack of a standardized process or procedure for the proper documentation and filing of training records related to 'Measurement of Uncertainty' in the designated folder (QCL-FIL-20). - Lack of a defined process and accountability for documenting and storing trainer evaluation records, coupled with inadequate awareness of the importance of compliance and quality requirements. |  |  |
| - Proposed Action | Target Date: | 13-02-2025 |
| Corrective action for shortcomings on all the NCs has been taken by revising the Authorization permit of Lab Assistant (QCL-FRM-2.01). Revised Authorization permit of CEO (QCL-FRM-2.01). Lab has conducted internal training of Masab Rasheed on Measurement Uncertainty Certificate of training attached. Lab has revised LSP (QCL-LSP-02) and defined the criteria for the selection of trainer accordingly and revised the training need assessment Form (QCL-FRM-2.02). Lab has conducted internal training on MU and maintained record related to MU in folder (QCL-FIL-20) and record related to trainer evaluation maintained in folder (QCL-FRM-20). _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |