| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The Lab Assistant has not the requisite education, training and competency to conduct the test under scope which is volition of the clause 6.2.2 of the standard ISO/IEC 17025:2017 (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the Lab Assistant not conducting the test correctly? | The Lab Assistant does not have the required education, training, or competency. |
| WHY | Why does the Lab Assistant lack the required education, training, or competency? | The organization did not properly evaluate the Lab Assistant's qualifications and skills before assigning the task. |
| WHY | Why was the evaluation of qualifications and skills not done properly? | The hiring or task allocation process does not include a robust check for qualifications and training relevant to the test under scope. |
| WHY | Why does the hiring or task allocation process not include robust checks? | There is no comprehensive procedure or system in place to ensure alignment between job roles and the required competencies. |
| WHY | Why is there no comprehensive procedure in place? | The management failed to prioritize or regularly review processes for competency verification as per ISO/IEC 17025:2017 Clause 6.2.2. |
| How | How can we ensure this issue does not occur again? | Develop a competency matrix: Create a detailed matrix mapping the required qualifications, training, and skills for each task/test under scope. Implement competency verification: Establish a procedure to verify education, training, and experience of staff before assigning responsibilities. |
| How | How can we address the current situation? | Immediate action: Reassign the test to a qualified individual until the Lab Assistant is appropriately trained. Corrective action: Enroll the Lab Assistant in necessary training programs to achieve competency for the specific test. Update their competency records. |
| Root Cause: Lack of a formal process to evaluate and verify the competency, education, and training of personnel before assigning them tasks related to specific tests under the scope of ISO/IEC 17025:2017. |  |  |

RCA Statement: Lack of a formal process to evaluate and verify the competency, education, and training of personnel before assigning them tasks related to specific tests under the scope of ISO/IEC 17025:2017.

Reviewed by: _______________________	                           Evaluated by: ______ ______