| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mr. Ahmad Umair (CEO) is supervising the analytical activities in VAN lab as a whole without authorization permit (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is Mr. Ahmad Umair (CEO) supervising the lab activities without an authorization permit? | The authorization process for supervision was not followed or enforced. |
| WHY | Why was the authorization process not followed? | The lab's operational procedures did not explicitly limit supervision responsibilities to authorized personnel. |
| WHY | Why do the operational procedures lack clarity on authorization requirements? | There has been no prior audit or review to identify and address gaps in procedural documentation. |
| WHY | Why was there no prior audit or procedural review? | Management prioritized other activities over compliance and quality assurance processes. |
| WHY | Why was compliance not prioritized? | There is insufficient awareness or training about the importance of compliance in maintaining operational integrity and regulatory standard (ISO/IEC 17025:2017). |
| How | How can we ensure unauthorized supervision does not happen again? | Implement a policy that explicitly states only authorized personnel can supervise analytical activities. Develop a system to track and verify authorization permits for all supervisory roles. |
| How | How can we prevent procedural gaps in the future? | Conduct regular audits of operational procedures, ensuring compliance with regulatory standards. Include mandatory training for all personnel (including management) on compliance, quality assurance, and procedural requirements. |
| Root Cause: Lack of a robust compliance framework and clearly defined procedures for supervisory roles, including a failure to prioritize and implement internal audits. |  |  |

RCA Statement: Lack of a robust compliance framework and clearly defined procedures for supervisory roles, including a failure to prioritize and implement internal audits.

Reviewed by: _______________________	                           Evaluated by: ______ ______