| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed an annual training Program me (QCL-FRM-2.03) checked the training record of Mr. Masab Rasheed authorized for training of the staff as mentioned in the Authorization permit (QCL/FRM-2.01) but he has no training over MU but working as a trainer over MU (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 13-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is Mr. Masab Rasheed working as a trainer on MU without proper training? | The authorization permit (QCL-FRM-2.01) lists him as a trainer without verifying his training records. |
| WHY | Why was his training not verified before granting authorization? | The process of verifying training records was not strictly followed during the authorization process. |
| WHY | Why was the process of verifying training records not strictly followed? | There is no formal procedure or checklist in place to ensure training records are cross-checked before authorization. |
| WHY | Why is there no formal procedure or checklist for verification? | Oversight during the development of the authorization process or lack of awareness about the need for such a step. |
| WHY | Why was there oversight in the process design? | Insufficient risk assessment and quality assurance reviews when designing the process for staff authorization. |
| How | How can we prevent this issue from recurring? | Develop and implement a formal Training Record Verification Checklist as part of the authorization process. Train supervisors and staff responsible for the authorization process on the importance of verifying training credentials. |
| How | How can we address the current NC? | - Immediately suspend Mr. Masab Rasheed’s trainer authorization for MU until he completes the required training. - Update the authorization permit (QCL-FRM-2.01) to reflect only verified trainers. - Provide Mr. Masab Rasheed with the necessary training on MU and reassess his competency before reinstating him as a trainer. |
| Root Cause: A lack of a robust verification mechanism for ensuring that training records (QCL-FRM-2.03) are checked against the authorization permit (QCL-FRM-2.01) before assigning staff as trainers |  |  |

RCA Statement: A lack of a robust verification mechanism for ensuring that training records (QCL-FRM-2.03) are checked against the authorization permit (QCL-FRM-2.01) before assigning staff as trainers.

Reviewed by: _______________________	                           Evaluated by: ______ ______