| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-10-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 11-02-2025 | NC No. 10 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| Laboratory has not applying the decision rule and also not mentioned lab procedure of reporting of results (NC). Lab has not applying the decision rule for the statement of conformity (NC). The VAN laboratory is providing interpretation like ok but the criteria regarding ok and not ok not mentioned in procedure (QCL-LSP-19) (NC). The lab has a procedure for reporting of results but not mentioned about amended/duplicate report issuance not mentioned in procedure (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 11-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The laboratory staff is not consistently applying the decision rule or mentioning lab procedures for reporting results because of insufficient training, unclear communication, or lack of a formal review process to ensure adherence to these procedures. - The root cause is likely insufficient training and awareness among lab staff about the importance of applying the decision rule for the statement of conformity, compounded by inadequate communication and system checks to reinforce the correct application of the procedure. - The root cause of this non-compliance (NC) is that the procedure QCL-LSP-19 does not clearly define the criteria for labeling results as "OK" or "Not OK." Without these clear guidelines, lab staff may interpret results in different ways, leading to inconsistency and confusion. - The root cause of this non-conformance (NC) is that the lab's procedure did not include instructions on how to handle amended or duplicate reports. This happened because the procedure focused mainly on the initial report creation and didn't account for situations where reports need to be changed or duplicated. |  |  |
| - Proposed Action | Target Date: | 18-02-2025 |
| Corrective action for shortcomings on all the NCs has been taken. Lab has revised the lab procedure for reporting of results (QCL-LSP-19) and applying the decision rule for statement of conformity. Lab has revised the procedure (QCL-LSP-19) and mentioned the criteria regarding OK and Not OK. Lab has revised the procedure for reporting of results (QCL-LSP-19) and mentioned about amended/duplicate report issuance in the procedure. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |