| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lab has not applying the decision rule for the statement of conformity (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 11-02-2025 |  | Submission Date |  | 18-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the decision rule not applied for the statement of conformity? | The lab failed to follow the established procedure for determining conformity. |
| WHY | Why did the lab fail to follow the established procedure? | Because the staff was unaware of the procedure, or it was not clearly defined or communicated. |
| WHY | Why were the staff unaware or the procedure not clearly defined? | There was a lack of proper training or regular reminders regarding the importance of the decision rule. |
| WHY | Why was there a lack of proper training or reminders? | Because the lab management did not prioritize regular training sessions or system updates on procedures. |
| WHY | Why did the lab management not prioritize regular training? | There was insufficient awareness of the potential risks and consequences of not following the decision rule. |
| How | How can we ensure the decision rule is applied correctly in the future? | Implement regular training sessions for lab staff on the importance of applying the decision rule for conformity statements. |
| How | How can we prevent this issue from happening again? | Establish a clear, accessible reference to the decision rule in standard operating procedures (SOPs) and implement a system of checks to ensure compliance. |
| Root Cause: The root cause is likely insufficient training and awareness among lab staff about the importance of applying the decision rule for the statement of conformity, compounded by inadequate communication and system checks to reinforce the correct application of the procedure. |  |  |

RCA Statement: The root cause is likely insufficient training and awareness among lab staff about the importance of applying the decision rule for the statement of conformity, compounded by inadequate communication and system checks to reinforce the correct application of the procedure.

Reviewed by: _______________________	                           Evaluated by: ______ ______