| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab is monitoring the temperature and humidity by using thermo hygrometer (VAN/PFTL/EQP-001) in main lab hall while in sample storage room by using the Thermo hygrometer (VAN/PFTL/EQP-002) all are calibrated but the lab has not authorized the person for this activity (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 08-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the NC raised? | The lab has not authorized the person responsible for monitoring the thermo-hygrometers. |
| WHY | Why was the person not authorized? | There was no formal process or system in place to identify, authorize, and document personnel responsibilities for monitoring equipment. |
| WHY | Why was there no formal process or system for authorization? | The lab management assumed verbal instructions were sufficient and did not prioritize implementing a formal authorization process. |
| WHY | Why did the management assume verbal instructions were sufficient? | Lack of awareness or oversight regarding the importance of documented authorization as part of the lab’s quality management system requirements. |
| WHY | Why was there a lack of awareness or oversight? | Insufficient training or orientation of lab management and staff on the requirements for personnel authorization under the lab’s quality management system. |
| How | How did this happen? | - No documented Lab system procedure (LSP) was in place for assigning and authorizing personnel responsible for equipment monitoring. - Management relied on informal practices, leading to an oversight in formalizing the authorization process. |
| How | How can this be prevented in the future? | - Develop and implement an LSP for assigning, authorizing, and documenting personnel responsibilities for equipment monitoring, ensuring it aligns with quality management system requirements. - Train all relevant staff on the importance of documented authorization and the associated LSP to prevent recurrence. - Periodically audit and review personnel authorization records to ensure compliance. |
| Root Cause: Lack of a formal process or system for documenting and authorizing personnel responsible for monitoring equipment, resulting from insufficient awareness or oversight regarding the quality management system requirements for personnel authorization. |  |  |

RCA Statement: Lack of a formal process or system for documenting and authorizing personnel responsible for monitoring equipment, resulting from insufficient awareness or oversight regarding the quality management system requirements for personnel authorization.

Reviewed by: _______________________	                           Evaluated by: ______ ______