| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All the equipment/apparatus have unique identification number and calibration sticker, wherever required and the equipment logbook analytical balance (QC-INS-001) not maintained (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the logbook not maintained? | The personnel responsible did not record the usage details or updates. |
| WHY | Why did the personnel not record the details? | Lack of awareness about the importance of maintaining the logbook and the procedural requirement. |
| WHY | Why was there a lack of awareness? | Training sessions did not emphasize the logbook requirement clearly, or refresher training was not conducted. |
| WHY | Why was training sessions insufficient or not updated? | There is no established mechanism for periodic review and updating of LSP, including training content. |
| WHY | Why is there no periodic review mechanism? | Oversight in the lab management system (LMS), and no accountability was assigned for ensuring compliance with procedural updates. |
| How | How can we correct this issue? | - Immediately conduct training or refresher sessions for all QC personnel on the importance of logbook maintenance and adherence to LSP. - Designate a responsible person to monitor logbook entries daily or weekly. - Conduct an audit of other equipment logbooks to ensure compliance across the lab. |
| How | How can we prevent this issue from recurring? | - Update the training schedule to include regular refresher training focused on equipment logbook maintenance. - Revise the LMS to include a mechanism for periodic review of LSP and their implementation status. - Assign accountability within the team for reviewing logbook entries and maintaining proper documentation. - Establish a checklist or digital tracking system to ensure all equipment has corresponding updated logbooks. |
| Root Cause: The lack of a systematic process for ensuring logbook entries is due to insufficient awareness and training on LSP adherence, coupled with inadequate oversight and accountability mechanisms within the Laboratory Management System (LMS). |  |  |

RCA Statement: The lack of a systematic process for ensuring logbook entries is due to insufficient awareness and training on LSP adherence, coupled with inadequate oversight and accountability mechanisms within the Laboratory Management System (LMS).

Reviewed by: _______________________	                           Evaluated by: ______ ______