| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The VAN Laboratory has not developed a lab procedure for control of technical record (QCL-LSP-20) (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 08-02-2025 |  | Submission Date |  | 14-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the procedure (QCL-LSP-20) not developed? | The laboratory staff were unclear about the requirement for this procedure. |
| WHY | Why were the laboratory staff unclear about the requirement? | There was no formal training or communication about the need for this specific control procedure. |
| WHY | Why was there no formal training or communication? | The management team overlooked the inclusion of this requirement during the implementation of quality control processes. |
| WHY | Why did the management team overlook the requirement? | There was no comprehensive review of ISO/IEC 17025 standards and associated requirements for technical records during quality planning. |
| WHY | Why was there no comprehensive review of the standard? | The laboratory lacks a structured mechanism to verify compliance with all ISO/IEC 17025 documentation requirements. |
| How | How can we ensure that the procedure is developed? | - Assign a responsible team or individual to review ISO/IEC 17025 requirements and develop the procedure (QCL-LSP-20). - Conduct a gap analysis of all quality documentation to identify any missing procedures. |
| How | How can we prevent this issue from recurring? | - Implement a structured process to regularly review and update documentation against ISO/IEC 17025 requirements. - Provide targeted training for staff and management on the importance of quality system requirements, including technical record control. |
| Root Cause: The laboratory lacks a structured process to review and ensure compliance with ISO/IEC 17025 documentation requirements, resulting in the omission of QCL-LSP-20 for control of technical records. |  |  |

RCA Statement: The laboratory lacks a structured process to review and ensure compliance with ISO/IEC 17025 documentation requirements, resulting in the omission of QCL-LSP-20 for control of technical records.

Reviewed by: _______________________	                           Evaluated by: ______ ______