| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-08-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 10-02-2025 | NC No. 08 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab analyst involved in reporting of Uncertainty of measurements have not sufficient knowledge over MU calculation lab staff involved in the calculation of MU needs training (NC). The raw data related to uncertainty measurements Nitrogen Phosphorus is not properly available (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 10-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The lack of a structured competency assessment and training program for MU calculations. This was due to assumptions about staff knowledge and a failure to prioritize skill development for this critical task. - Lack of a structured system to ensure procedure compliance, training, and monitoring for quality control. |  |  |
| - Proposed Action | Target Date: | 15-02-2025 |
| Corrective action for shortcomings on both the NCs has been taken by conducting internal training of Lab Staff on Measurement of Uncertainty Certificate of training attached and raw data related to uncertainty measurements of Nitrogen, phosphorus is maintained. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |