| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab analyst involved in reporting of Uncertainty of measurements have not sufficient knowledge over MU calculation lab staff involved in the calculation of MU needs training (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 10-02-2025 |  | Submission Date |  | 15-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is there insufficient knowledge about MU calculation? | The lab staff did not receive proper training on MU calculation methods. |
| WHY | Why did the staff not receive proper training? | There was no structured training program or plan for MU calculations in place. |
| WHY | Why was there no training program? | The management did not prioritize MU training as a critical competency for staff. |
| WHY | Why did the management not prioritize this training? | Management assumed the existing knowledge of staff or basic qualifications were sufficient. |
| WHY | Why was this assumption made? | There was no formal assessment of staff competency for MU calculations before assigning the task. |
| How | How can we prevent this issue? | - Implement a structured training program specifically targeting MU calculations. - Conduct periodic competency assessments to identify gaps in knowledge. |
| How | How can we monitor and ensure improvement? | - Develop a checklist or audit process to verify that staff are proficient in MU calculations. - Assign a trained and experienced mentor to guide staff until they demonstrate full competency. |
| Root Cause: The lack of a structured competency assessment and training program for MU calculations. This was due to assumptions about staff knowledge and a failure to prioritize skill development for this critical task. |  |  |

RCA Statement: The lack of a structured competency assessment and training program for MU calculations. This was due to assumptions about staff knowledge and a failure to prioritize skill development for this critical task.

Reviewed by: _______________________	                           Evaluated by: ______ ______