| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-09-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 10-02-2025 | NC No. 09 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has developed the procedure for reporting of results (QCL-LSP-19) however lab needs to revise the procedure as per Clause 7.8.1 & 7.8.2 of the standard ISO/IEC 17025:2017 (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 10-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| The root cause of the non-conformance is the lack of a formal process to update staff on changes in relevant standards and regulations. |  |  |
| - Proposed Action | Target Date: | 15-02-2025 |
| Corrective action for shortcomings on the NC has been taken. Lab has revised the procedure for reporting of results (QCL-LSP-19) as per clause 7.8.1 and 7.8.2 of the standard ISO/IEC 17025:2017. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |