| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed the procedure for reporting of results (QCL-LSP-19) however lab needs to revise the procedure as per Clause 7.8.1 & 7.8.2 of the standard ISO/IEC 17025:2017 (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 10-02-2025 |  | Submission Date |  | 15-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the procedure for reporting results not compliant with Clause 7.8.1 and 7.8.2 of ISO/IEC 17025:2017? | The procedure did not properly outline the requirements for reporting results, including necessary actions related to results validity and traceability as stated in the standard. |
| WHY | Why did the procedure not address all requirements of Clause 7.8.1 and 7.8.2? | Because the procedure was developed without a comprehensive review of the latest version of ISO/IEC 17025:2017. |
| WHY | Why was there no comprehensive review of the latest version of the standard? | The team responsible for the procedure development was unaware of the full scope of the updates in the 2017 version of the standard. |
| WHY | Why was the team unaware of the updates? | There was insufficient training or communication about the changes in the 2017 standard. |
| WHY | Why was there insufficient training or communication about the changes? | The organization did not have a formal process to ensure that staff are kept up-to-date with changes in relevant standards and regulations. |
| How | How can the lab prevent this non-conformance in the future? | By implementing a formal procedure for regular training and communication to ensure that all personnel are aware of updates to ISO/IEC standards. |
| How | How can the lab ensure the procedure is compliant with the ISO/IEC 17025:2017? | By conducting a detailed review of all ISO/IEC 17025:2017 clauses and involving experts or consultants during the procedure revision process to ensure full compliance. |
| Root Cause: The root cause of the non-conformance is the lack of a formal process to update staff on changes in relevant standards and regulations. |  |  |

RCA Statement: The root cause of the non-conformance is the lack of a formal process to update staff on changes in relevant standards and regulations.

Reviewed by: _______________________	                           Evaluated by: ______ ______