# Standard Operating Procedure for

PERSONNEL COMPETENCE AND AUTHORIZATION

ISO/IEC 17025:2017 – Clause 6.2

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmad Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of VAN QC LAB.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the Chief Executive Officer is strictly prohibited.

Amendment Sheet

| Date | Revision # | Amendment Detail | Section | DCR | Amendment Approved by |
| --- | --- | --- | --- | --- | --- |
| 20-09-24 | 01 | Replace issue# with revision# | Header | 02-24 | Chief Executive Officer |
| 20-09-24 | 01 | Deletion of page number from header | Header | 02-24 | Chief Executive Officer |
| 20-09-24 | 01 | QC Lab reporting to CEO for Final Approval | Document Approval | 02-24 | Chief Executive Officer |
| 20-09-24 | 01 | Selection criteria revised | Document Plaining | 02-24 | Chief Executive Officer |
| 20-09-24 | 01 | Training, supervision and Authorization revised | Document Authorization Form | 02-24 | Chief Executive Officer |
| 01-02-25 | 02 | Addition of competence criteria, supervision and authorization revised | Document | 04-25 | Chief Executive Officer |

# 1. PURPOSE

The purpose of this LSP is to ensure that personnel designated in the laboratory, are selected on the basis of appropriate qualification, competence and experience. In addition, the procedure also ensures that appointed Lab Personnel are given practical and training opportunities, to enhance their skills and capabilities. This procedure relates to “Recruitment and selection” which defines the core functions of personnel hiring at Vital Agri Nutrients (Private) Limited.

# 2. OBJECTIVE

- To ensure that selected personnel meet the minimum qualification requirement, and have the skills to support Lab activities.

- Availability of required Job Descriptions, highlighting the minimum qualification and experience required for each designation.

- Perform training need assessment of lab personnel to improve their competence and skills, and support in overall improvement of Laboratory activities.

- To ensure that employees receive adequate training of applicable Company procedures to meet the quality related Company objectives as well as improve Lab Management System, and support accreditation requirements.

- To raise competence of personnel involved in activities associated with laboratory, through training and awareness sessions

- To qualify and authorize personnel for Lab Specific activities and test performance, based on their skills, competence, trainings, and education.

- To determine and document authorization of personnel involved in testing activities, based on their competence and experience.

# 3. SCOPE

This procedure applies to all QC staff for the Lab Management System in VAN QC Lab.

# 4. ROLES & RESPONSIBILITIES

| Roles | Responsibilities |
| --- | --- |
| QCM | - Ensures the Job Descriptions of employees are maintained with support of HR Division. - Ensures identification of internal/external trainings which can raise competence of laboratory’s personnel in relation to scope of accreditation. - Ensures implementation and completion of the system for their divisions. |
| Human Resource Division | - Responsible that system is in place to provide its employees the Performance Standards and ensures performance appraisal. - With the support of QCM, takes the responsibility of hiring of people, with required education / experience in light of Laboratory activities and Lab Management system requirements. |
| CEO (Chief executive officer) | - Chief Executive Officer (CEO) ensures the availability of suitable infrastructure to provide necessary work environment. |

# 5. PROCEDURE

- Competence Requirement:

For each function identified, define competence requirements specifying:

| Sr. No. | Cadre | Education / Qualification | Lab Experience |
| --- | --- | --- | --- |
|  | Fresh / QC Analyst | BS(Hons.)/ M. Sc Chemistry/ Chemical Engineer | Fresh |
|  | Assistant QC Analyst | B.Sc. (Chemistry, Zoology, Botany) BS(Hons.)/ M. Sc Chemistry/ Chemical Engineer | Minimum 1 – 2 years |
|  | QC Analyst | BS (Hons.)/ M. Sc Chemistry/ Chemical Engineer | Minimum 2 years |
|  | Lab Assistant | Bachler/Intermediate / Matric | 2 years’ experience in case of Bachler, 3 years’ experience in case of intermediate 4 year’s inline experience in case of Matric |
|  | Lab. Attendant | Matric | Fresh or 1-year relevant experience |
|  | Assistant Quality Control Manager/Technical Manager | BS (Hons.)/ MPhil Chemistry/ Chemical Engineer | Minimum 2-3 years |
|  | Quality Control Manager | BS (Hons.)/ MPhil Chemistry/ Chemical Engineer | Minimum 5 years |
| Job Knowledge |  | Fulfill Departmental Objectives |  |
| Skills (For Experienced Personnel) |  | Minimum Level 1 = 2.0 Grading Score |  |
| Personality Traits |  | Well Manner / Well Disciplined |  |
| Computer Literacy |  | Basic Knowledge and skills of computer. Basic Knowledge and skills to operate Software’s (Microsoft Office, email, Internet.) |  |

- Recruitment of Staff:

- VAN HR Department is responsible for hiring of personnel. The required qualification, experience and competence is expressed in respective Job Descriptions (QCL-JD-NN).

- Upon selection, Appointment Letter is issued to the successful candidate. The candidate is given orientation / start up training.

- It is further ensured that fresh hiring whether experienced or not, are provided with the following orientation:

- Orientation on VAN policies

- Orientation on Job Description

- Orientation on VAN QC Lab Management System

- Orientation on importance of lab accreditation and role of PNAC

- QC Department is responsible to keep records against the following:

- Training Attendance Record

- Updated Authorization Forms

- Evaluation records (used for personnel evaluation under the guidelines of ISO/IEC 17025:207, including record against on-job trainings).

- Management ensures that sufficient resources are available for competent personnel to perform according to requirements of test methods adopted, while keeping in compliance with ISO/IEC 17025:2017 requirements.

- Training Needs

- Plan for on-job training and evaluation (applicable on fresh inexperienced employees only)

- Training Need Assessment (Identifying training needs of new hiring’s) to be performed

- Laboratory staff shall be trained on the following:

- Introduction of ISO/IEC 17025:2017

- Evaluate Measurement Uncertainty as per ISO/IEC 17025:2017

- Quality Management System as per ISO/IEC 17025:2017

- Improvement in the organization’s capabilities and achievement of quality objectives.

- Assigned work processes and procedures

- PSQCA, SFRI, ILAC, APAC and other Guidelines

- Equipment Handling, Calibration and Operation

- Ethics and Confidentiality

- The QCM shall schedule an annual training plan (QCL-FRM-2.03) for all staff in Quality Control Laboratory.

- Trainings are an important part of QC Lab, which serves two purposes:

- Development and growth of lab personnel

- Regular training cycles also ensure that Personnel of all levels are able to demonstrate their capability and competence, a measure to monitor personnel progress and competence.

- In order to ensure periodic monitoring of competent personnel, trainings are considered a regular component of lab activities.

- Trainings on Lab Activities have evaluation criteria which needs to be fulfilled in order to determine the clearance status of trainees: annotations

| Annotation | Criteria |
| --- | --- |
| Unsatisfactory | Trainee failed to perform all the steps required for preparation and performance of Lab Activity |
| Mediocre | Trainee performed all the required steps correctly but failed to satisfy the documentation part of the process |
| Good | Trainee was able to satisfy all steps correctly with a few minor issues in documentation. This clearance is sufficient for Level 1 employees. This clearance is not sufficient for Level 2 employees. |
| Excellent | Trainee was able to complete everything within a given timeframe, with complete satisfaction including documentation requirements of the process. This clearance is required for Level 2 employees. |

- Note that, training documentation and record keeping will be as per Training procedure of VAN QC Lab.

- Performance Evaluation:

Laboratory internally evaluate performance of QC staff for authorization of test performance in two ways:

- QC Internal Samples:

- Samples of known analytical values shall be identified by the Quality Control Manager.

- The analytical value(s) of the sample(s) along with acceptable limit(s), and Code No. shall be recorded by Quality Control Manager.

- The coded samples along with necessary information required for analysis shall be disclosed to the analyst.

- The analyst shall be validated for either one or more of following analytical tests;

- Nitrogen Test

- Phosphorus Test

- Potassium Test

- Humic Acid Test

- pH Test

- Conductivity Test

- Organic Matter Test

- CEC Test

- Calcium Test

- Sodium Test

- Copper Test

- Magnesium Test

- Moisture content Test

- Zinc

- Sulfur/Sulfate

- The validation shall include one or more of the following equipment’s used in QC analysis:

- UV Spectrophotometer

- Titrimetric

- Karl Fischer analysis

- TDS Meter

- pH Meter

- Flame Photometer

- Kjeldhal’s Apparatus

- Furnace

- Oven

- Analytical Balance

- The results of analyst shall be checked and compared with expected values.

- Materials Under test with Standard Test Methods will provide to each analyst.

- No repeat of the test will be allowed to the analyst.

- The capability to perform tests by Analyst shall be considered satisfactory if the results reported by the analyst are within the acceptable limits.

- After completion of the test the QCM/AQCM will check the test result and fill the record.

- QCM will review validation report and will decide for the selection of analyst for routine analysis.

- If the analyst is failed to qualify the test analyst will undergo training to testing equipment and test procedure.

- The results are provided by analyst will be crosschecked to the previous result of the material/Product and check the similarity of the result.

- If the material is not previously tested in the company by approved analyst the supplier report will be considered acceptance criteria for validation exercise. If the analyst is failing to qualify the test, as per vendor report, another approved analyst to confirm the result of the vendor report will do a repeat test.

- The result of analyst should not vary by defined acceptance criteria to actual result (test report) of the material.

- PT Samples:

- QCM will assign PT Sample to the analysts as per scope. After testing trainee will submit his/her results to the QCM.

- AQCM/QCM will submit the result to testing lab conducting the proficiency testing round as per instructions of Testing Laboratory e.g. Magruder Proficiency testing Scheme.

- PT test will perform the personnel as per authorization ISO-IEC 17025-2017 Scope.

- QCM and AQCM will also analyze the PT sample himself and record the results for self-monitoring which should be found within acceptable criteria and all the data will be recorded.

- Competence Acceptance Criteria:

| Sr. No. | Tests | Acceptance Criteria |
| --- | --- | --- |
| 1 | Flame Photometer | 1. Test Three replicate preparations 2. RSD of three results should not be more than 1.0 % 3. Result difference from the trained analyst and trainee ± 2.0% |
| 2 | pH | 1. Test Ten replicate preparations 2. SD of all results should not be more than 0.01. |
| 3 | Karl Fischer | 1. Test Three replicate preparations 2. RSD of three results should not be more than 1.0 % 3. Result difference from the trained analyst and trainee ±1.0 % |
| 4 | TDS | 1. Test Ten replicate preparations 2. SD of all results should not be more than 0.01. |
| 9 | UV Spectrum | 1. Test Three replicate preparation 2. RSD of three results should not be more than 1.0 %. 3. Result difference from the trained analyst and trainee ± 2.0 % |
| 10 | Balance | By pipette* taking different volumes to ensure the weighing practices and pipetting. |

Personnel in Lab are categorized into four levels i.e. 0, 1, 2, 3, and their competence and authorization are based on it.

All lab personnel including fresh hiring must fulfill the following criteria.

| Category | Level | Criteria |
| --- | --- | --- |
| Fresh Personnel | Level 0 1 = No Competence (Needs Training & direction) | - Minimum qualification as per Job Descriptions (QCL-JD-NN) of the designation. - At this level a person requires to pass the authorization permit. |
| Activity Performers | Level 1 2 = Low Competence (Needs ongoing support) | - An activity performer is considered competent enough to perform the following activities: - Test performance - Handling of Samples - Handling of Equipment and Accessories, and their correct use - Identification of nonconformities - Supporting in containment and mitigation of nonconformity - Support in reporting of results - Handling of chemicals and related test items - Handling of internal quality standards - Handling of certified reference standards - Disposal of chemical and waste - Method Verification and Validation Note: Not all personnel may have authorization to perform all these activities. The authorization is defined in Authorization Permit. - To be considered Level 1, employee must complete the following criteria: - 1 month in Lab activities directly under supervision of Level 2 employee - Attend training on ISO 17025 requirements - Attend trainings on test performance for the tests the employee will be performing (and qualify based on training evaluation criteria given in this procedure) Note: A person with previous Fertilizer Lab experience may not have to go through “1 month in Lab activities directly under supervision of Level 2 employee” (minimum 1 year of experience). |
| Supervisors | Level 2 3 = Partial Competence (Need occasional support) | - A person appointed as Level 1 can be updated to Level 2, after spending 1 year with VAN QC Lab as Level 1. Following criteria needs to be fulfilled to achieve Level 2: - 1 Year as Level 1 - Successful clearance in Lab Activity trainings in a period of 12 months - Must have a minimum of 3 years’ experience in Fertilizer industry. Note: A person with 3 years of Fertilizer industry experience does not require to be Level 1, and can be directly appointed as Level 2 after completion of Lab activity trainings. |
| Managers | Level 3 4 = High Competence (Completes task independently) | - Managers are appointed under the policy and process defined through HR Division. This decision and appointed lies with decision makers. |

For QC Lab, personnel information is updated in their Personnel Authorization Permits.

- Supervision Competency of Personnel:

QCM is responsible to supervise the competency of Lab Personnel;

- To assess the competency of personnel. This involves evaluating their education, training, skills, and experience relevant to their roles in the laboratory as defined in their respective Job Description & Specifications.

- The newly recruited staff after training carry’s out testing under through supervision of the AQCM or QCM for the first six months.

- After successful completion of this period the QC Analyst requires to pass the authorization permit to reach on level 1. However full freedom to carry out all tests is given only after 1 year.

- Authorization Requirements:

All personnel in the lab involved in Lab activities including documentation and reporting, are required to have documented authorizations defined on the basis of their qualification, experience and competence or years spent in doing a specific task / test / procedure. Lab Authorization Permits includes the following areas:

- Name and Designation of a person, along with their Education/Qualification.

- Details of trainings attended by a person (including internal/external).

- Definition of authorities, such as;

- Test Performance Authorization: This includes not just understanding of test performance, but also handling of required samples, creating and handling solutions, understanding of MSDS related to chemicals being used, and practical understanding of equipment handling. A person is eligible for authorization after fulfilling a period of on-job training defined by QCM.

- Supervision Authorization: AQCM (Level 2) is under the authority of QCM and is authorized to act as supervisor for Test Performers and New Lab Employees.

- Test Reporting: This authorization ensures that Assistant Quality Control Manager have the authority to finalize (certificate of analysis) to production or QA (internal customers only) and other clients (external customers) as per requirements. QCM is primarily authorized and approve a test report, but he can designate this authority to Assistant Quality Control Manager, especially in case of his absence or unavailability.

- Data Access: The authority to access computers and data stored therein, including previous reports and performance data, is authorized by QCM/AQCM.

- Acceptance Criteria for Authorization

When analyst perform 10 or more analysis by complying requirements on specific test/instrument under the supervision of AQCM/QCM, he will be authorized on that specific test/instrument by the QCM.

- Monitoring the competence of the personnel’s

- Performance will be measured annually on sheet of Competence Monitoring of Laboratory Personnel (QCL-FRM-1.04).

- Monitoring of competence of analyst will be evaluated on following criteria;

- Results of PT sample.

- Results for blind sample testing.

- Results from retesting (if applicable) in case any sample from client compliant etc.

- The results will be evaluated on the basis of criteria

# 6. RELATED DOCUMENTS

- Analyst Authorization……………………………………………………. (QCL-FRM-1.01)

- Equipment authorization…………………………………………. (QCL-FRM-1.01 A)

- Product authorization…………………………………………….... (QCL-FRM-1.01 B)

- Competency Evaluation and Authorization through QC Internal Samples (QCL-FRM-1.01 C)

- Competence Evaluation through PT Samples…………………………. (QCL-FRM-1.01 D)

- Grading Matrix for Competency Measurement (Equipment Skill Set) … (QCL-FRM-1.01 E)

- Grading Matrix for Competency Measurement (Product Skill Test) …… (QCL-FRM-1.01 F)

- Grading Matrix for Competency Measurement (Document Skill Test) … (QCL-FRM-1.01 G)

- List of Authorized Staff  ………………………...…………. (QCL-FRM-1.02)

- List of Technical Personnel/Staff………...…………………………………. (QCL-FRM-1.03)

- Competence Monitoring of Laboratory Personnel…………………….……. (QCL-FRM-1.04)