# ASSESSMENT REPORT

## BY TEAM LEADER

| Ref No: | Lab # | Date of visit | 10-11 July 2026 |
| --- | --- | --- | --- |

| Name of Organization | QC Laboratory, Vital Agri Nutrients | ISO/IEC 17025:2017 |  |
| --- | --- | --- | --- |
| Address | 49-km,Adda Saran , Phool Nagar ,Multan Road Lahore |  |  |
|  |  | Testing Calibration |  |
|  |  | Permanent Temporary |  |
|  |  | Mobile Sampling |  |
| Location (if different from address) | Same |  |  |

| Pre-assessment Initial/Full Assessment Re-assessment Scope extension Extraordinary assessment If Other specify |  | 1st / 2nd Surveillance Clauses that shall be covered in each surveillance: Circle clauses that are covered during this assessment: |
| --- | --- | --- |
| Management Representative | Mr Himayat |  |
| #### Assessment Team | Team Leader: Ateeq ur Rehman |  |
|  | Assessor: NIL |  |
|  | Technical Assessor(s)/Expert(s): Dr Muhammad Aftab |  |
|  | Observer/Trainee Assessor: NIL |  |

| Summary of findings at this visit |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Brief description of the CAB: (Where located, how many employees and history |  |  |  |  |  |
| The reassessment and Scope extension of the M/s Vital Agri Nutrients (VAN) was conducted in a cordial atmosphere, the management and staff extended full cooperation and access to all the required information and documents for the assessment activities. M/s Vital Agri Nutrients (VAN), is a legally identified body, registered with SECP, under section-32 of Companies Ordinance, 1984 XLVII of 1984), located within its premises at the given address. The lab has the primary objective to provide testing services on Fertilizers products (N, P, K, pH Conductivity, Boron, Sulfur, Humic Acid) and their raw materials to internal (Production Department) and R & D customer. The lab is performing its testing activities in the general shift 9:00 A.M to 5:00 P.M. Lab is headed by CEO Quality Manager, directly report to CEO. There are sufficient staff working in the lab, all the staff is competent and experienced. The NCs of the last assessment reviewed. |  |  |  |  |  |
| General Requirements (Impartiality and Confidentiality)(Clause 4.0) |  |  |  |  |  |
| Impartiality and Confidentiality The lab management is committed to safeguard the impartiality. All the lab activities have been structured, managed and undertaken impartially. The lab has documented policy (QCL/POL/03) for impartiality. The lab has taken commitment of Impartiality (QCL/FRM/3.01) to all staff. The record of Mr Himayat Hussain checked for compliance, signed on 25-09-2024. Impartiality Risk Assessment: The lab has identified risks related to impartiality on Risk Evaluation Form (QCL/FRM/8.01) to identify, analyze, and control the risks on-going basis. The lab has identified risks related to impartiality mitigation plan as per requirements. Confidentiality The lab has documented policy (QCL/POL/02) for confidentiality. The lab has also developed a legally enforceable declaration of confidentiality agreement (QCL/FRM-2.01) from all staff. The record of Mr Ahmed Umair, CEO checked for compliance, signed on 23-04-2024. |  |  |  |  |  |
| Structure Requirement (clauses 5.0 ) |  |  |  |  |  |
| M/s Vital Agri Nutrients (VAN) is a legally identified body, registered with SECP, under section-32 of Companies Ordinance, 1984 XLVII of 1984). Range of lab activities The laboratory has defined about the range of lab activities, testing lab and developed a quality management system as per ISO/IEC-17025: 2017; in quality manual on page # 4. This laboratory only performs testing activities and defined scope parameters. Calibration and sampling are out of scope of the activities. The lab has not defined the detail regarding range of lab activities carried out under the accreditation scope ISO/IEC 17025:2017 for testing of fertilizer. Lab needs to define and document all lab activities in its QMS Document (NC) Organogram Laboratory has developed a document vide # QCL-ORG-01, CEO is the top management and QC manager directly report to CEO. The authorization permit of Quality control manager (Mr. Himayat Hussain) Checked the authorization permit needs to revise as per JDs (QCL-JD-02 REV#01 Dated 24-09-24)of the QCM (NC). The job descriptions of relevant persons like CEO, QCM etc. available, the personnel reflect the responsibility and authority of the laboratory personnel. The Laboratory has established, implemented and maintained a management system appropriate to the scope of activities to assure the quality of test results as anticipated in the ISO 17025:2017; the International Standards for lab management and procedures are designed to meet this broad policy objective. |  |  |  |  |  |
| Resource Requirements: Personnel (Clause 6.2 ) |  |  |  |  |  |
| please see the TA report. |  |  |  |  |  |
| Facilities and Environmental Conditions (Clause 6.3) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Equipment (calibration, ID, handling, authorization on use, maintenance) (Clause 6.4) |  |  |  |  |  |
| See TE report |  |  |  |  |  |
| Metrological Traceability (check certificates and with further traceability, CRM & storage) (6.5) |  |  |  |  |  |
| The lab calibrated its equipments from accredited lab and using traceable CRM to maintain the traceability. Further See TA report |  |  |  |  |  |
| Externally provided products and services (Check complete process of products and services including the subcontracted services)(Clause 6.6) |  |  |  |  |  |
| The lab has developed a procedure (QCL/LSP/06) for externally provided products and services. Supply chain manager, QCM, CEO responsible to implement this procedure. The lab has defined the evaluation criteria for suppliers of product and services/list of approved suppliers QCl/FRM/6.02); after evaluation on the service evaluation & reevaluation form (QCL/FRM/6.03) like calibration, PT, CRM etc. the lab has also developed a format for inspection of purchased products, evaluated as per standard requirements, lab has also defined about the re-evaluation and lab practicing the reevaluation of vendors. Further See TA report |  |  |  |  |  |
| Review of Request tender and Contract ((who, how selected, accredited or non-accredited, changes and renewal of contract) (Clause 7.1) |  |  |  |  |  |
| The lab has established a procedure (QCL/LSP/12) for the purpose. The lab has internal customer at present. The lab has developed a contract between lab and customer for internal customers, The lab has established a mechanism to receive the sample receiving samples from their customers. Further See TA report |  |  |  |  |  |
| Selection verification and validation of methods (Clause 7.2) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Sampling (Clause 7.3) |  |  |  |  |  |
| Not included |  |  |  |  |  |
| Handling of test or calibration items (Clause 7.4) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Technical Records (Clause 7.5) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Evaluation of Measurement Uncertainty (whether correctly calculated and available, check CMC in case of calibration) (Clause 7.6) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Ensuring the validity of results (Clause 7.7) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Reporting of results: General and Common requirements for reports (Clause 7.8.1 & 7.8.2) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Specific requirements for testing reports (Clause 7.8.3) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Specific requirements for calibration certificates (Clause 7.8.4) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Reporting Sampling - Specific requirements (Clause 7.8.5) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Reporting statement of Conformity (Clause 7.8.6) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Reporting Opinions and interpretation (Clause 7.8.6) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Amendments of repots (Clause 7.8.7) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Complaints (Clause 7.9) |  |  |  |  |  |
| The lab has a documented procedure for Complaints (QCL/LSP/13). The lab has also developed a Customer Complaint Form (QCL/FRM/15.01). QCM for handling and management the complaint process. No complaint received so far. |  |  |  |  |  |
| Non-Conforming works (Clause 7.10) |  |  |  |  |  |
| The lab has a developed a procedure (QCL/LSP/14) for the non- conforming work. The procedure normally describes about the non-conformities. The lab has defined responsibilities and authorities for the management of non-conforming work. The lab has developed a form QCL-FRM-14.01 for recording the non-conforming work, lab checking the significance. The lab has recorded NC and raised CPA form. |  |  |  |  |  |
| Control of Data and Information Management (Clause 7.11) |  |  |  |  |  |
| See TA report |  |  |  |  |  |
| Management System Requirements: Option A / Option B (Clause 8.1) |  |  |  |  |  |
| The Lab has opted for Option A. The Lab has addressed the requirements of the management system as per ISO 17025:2017; |  |  |  |  |  |
| Management System Documentation (Clause 8.2) Option A |  |  |  |  |  |
| The Lab has established, documented and maintained policies, procedures, and objectives as per requirements of the standard ISO/IEC 17025:2017. Quality Policy The lab has established quality policy with the signature of CEO. Quality Objectives The Lab has defined its quality objectives (QCL/FRM/18.01) for the year 2025. 04 quality objectives defined by the Lab with target dates & responsibilities, but the target dates of all objectives are fixed Dec 2025 without any justification and detailed roadmap. (NC) |  |  |  |  |  |
| Control of Management System Documents (Clause 8.3) Option A |  |  |  |  |  |
| The lab has defined a procedure (QCL/LSP/07) for the control of internal and external documents that are related with fulfillment of requirements of the standard ISO/IEC 17025:2017. The documents are uniquely identified. The Lab has defined 4 level of documents. The lab has developed a master list (QCL/FRM/20.02) for internal, lab controlled the external origin documents like standards, PNAC/ILAC guidelines etc. Document Review & Approval of the Documents: The lab has defined that all the documents are approved by CEO. The lab has defined the frequency for document review. Change of the Documents: The lab has ensured the document change process. The lab has developed a Document Change Request Form (QCL/FRM/7.02) for changes in documents. The record of DCR for procedure for document control checked (DCR-08/24. Obsolete documents: The obsolete documents are placed in a folder with mark as obsolete with red stamp. |  |  |  |  |  |
| Control of records (Clause 8.4) Option A |  |  |  |  |  |
| The lab has maintained the list of records with retention period for all |  |  |  |  |  |
| Action to address risks and opportunities (Clause 8.5) Option A |  |  |  |  |  |
| The lab has established the mechanism to address the risk related to its lab activities through procedure for Risk Evaluation. The lab has developed a Risk Evaluation Form to identify, analyze, and control the risks. The lab has identified risks related to lab activities with mitigation plan. |  |  |  |  |  |
| Improvements (Clause 8.6) Option A |  |  |  |  |  |
| The lab analyses the data for sake of improvement. Feedback: The lab has developed a customer feedback form respectively. Total 18 feedbacks received from the internal customers, all are satisfactory. |  |  |  |  |  |
| Corrective actions (Clause 8.7) Option A |  |  |  |  |  |
| The lab has developed a procedure (QCL/LSP/10) for corrective actions. The lab has developed a corrective action form for recording the corrective actions. The QCM is responsible for the management of corrective actions and to take corrective action and ensure satisfactory and timely closure. The lab has identified the root cause through fishbone diagram. Total 13 CAs raised against the NC raised during the lab activities and closed after root cause. |  |  |  |  |  |
| Internal audits: (Frequency, plans, methods, criteria, reports, corrective actions, follow-ups etc) (Clause 8.8) Option A |  |  |  |  |  |
| The lab has also documented procedure for (QCL/LSP/10) Internal Audit. The lab has defined the frequency of internal audits annually. QAM responsible to implement this procedure. Last internal audit was conducted as per internal audit schedule (QCL/FRM/10.02) on 16, June, 2025, by the internal auditors. The auditors used internal audit check list (QCL/FRM/10.09) and prepared the internal audit report (QCL/FRM/10.10). 01 NCs and 02 Obs raised and closed after root cause. |  |  |  |  |  |
| Management review: (Frequency, agenda, minutes, follow-up on the previous meeting, tasks assigned, actions taken etc) (Clause 8.9) Option A |  |  |  |  |  |
| The lab has defined the frequency of the MRM meeting annually. The last MRM was conducted 16-09-2024. The lab has circulated the MRM Schedule (QCL/FRM/11.02) before the meeting, CEO chaired the meeting. The lab has documented minutes (QCL/FRM/11.04) with decisions, target dates and follow-up. |  |  |  |  |  |
| Use of PNAC logo (for already accredited CABS (G-02/02) |  |  |  |  |  |
| The lab using PNAC accreditation marked as per guideline on its test reports. |  |  |  |  |  |
| Compliance with conditions of accreditation (G-02/04) including APAC and ILAC policies |  |  |  |  |  |
| Generally, comply |  |  |  |  |  |
| Vertical Audit |  |  |  |  |  |
| Scope Review (Please mention change of scope such as extension or reduction etc. if any) |  |  |  |  |  |
| Any other observation |  |  |  |  |  |
| Recommended for: |  |  |  |  |  |
| Full assessment Grant of Accreditation Continuation of accreditation Scope extension Renewal Partial Suspension Suspension for all scope With drawl of accreditation Conditions if any Subject to closure of NCs raised during assessment |  |  |  |  |  |
|  |  | Number of Individual Assessor/Expert's Reports attached | 01 | Total number of non-compliances |  |

| Date by which plan for all other corrective actions is to be proposed |  | Date by which all corrective actions agreed during the visit are to be discharged |  |
| --- | --- | --- | --- |

| ##### Signature of Team Leader Name: Ateeq ur Rehman Date: 11-07-2026 | Signature of Management Rep. Name: Mr Himayat Hussain Date: 11-07-2026 |
| --- | --- |