## Sheet1
|  |  | Quality Risk Assessment & Opportunities | [5 empty] | Doc. QCL/FRM-05
Issued: 20 Jan 2023
Rev. 00
Last Updated: 20 Jan 2023 |  |  |  | Initial Risk Assessment (without any controls in place) |  |  |  | Risk Assessment
Sr. # | Area | Activities/Process | Quality Concerns Risks | Severity Rating | Likelihood | Risk Rating | Existing Control in place (Opportunities) | Severity Rating | Likelihood | Risk Rating | Further Controls Required
1 | Lab Activities | Sample Collections | Misidentification of Sample/specimen | 3 | 3 | 9 | Sample Receiving person from Lab verify Name and Identification Criteria. Furthermore, as sample recived in lab it is enterd in sample log and batch number/code is also alotted otherwise he will return sample to customer for proper identification | 3 | 1 | 3 | -
2 | Lab Activities | Sample Collections | Sample Received in Lab is not place in Controlled Environmnet | 4 | 2 | 8 | All samples are stored in designated location of lab and environmental conditions of lab is recorded on daily basis. Lab incharge also verify environment record | 4 | 1 | 4 | -
3 | Lab Activities | Sample Prepration | In Accurate process parameters (eg Temperature, Pressure, Weighing error), Expired Reagents used in preparation | 4 | 2 | 8 | Weighing balance is calibrated and place on flat surface. Furthermore it is placed in designated position. Volume measuremnet is done through calibrated flask. Chemist are properly trained on testing activities. Reagents lists are available used in testing activities, expiry of reagents are recoreded in this list. before using reagents chemists verify its expiry. | 4 | 1 | 4 | -
4 | Governace & Management | For Change the results | Any governmantal/ Management Pressure | 4 | 2 | 8 | Laborities is independent and reporting direct to Plant Manager | 4 | 1 | 4 | -