| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-11-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 01-02-2025 | NC No. 1 TL |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has also developed a format for inspection of purchased products, but has not evaluated as per standard requirements, (NC). Lab has also not defined about the re-evaluation and lab not practicing the reevaluation of vendors (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 01-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The team didn’t properly check if the inspection format met the standard requirements. This happened because there wasn’t a clear process, proper training, or oversight in place to ensure compliance. - The lab management failed to recognize the importance of re-evaluating vendors and did not include it in their processes. This happened because there was no proper training or focus on vendor management requirements during procedure development. |  |  |
| - Proposed Action | Target Date: | 07-02-2025 |
| Corrective action for shortcomings on both the NCs has been taken by revising the format for inspection of purchased products as per standard requirements. Lab has revised the procedure (QCL-LSP-06) and defined the criteria about the re-evaluation and start practicing the reevaluation of vendors. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |