| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-12-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 03-02-2025 | NC No. 2 TL |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has a developed a procedure (QCL/LSP/14) for the non- conforming work. The procedure normally describes about the non-conformities. (NC) The lab has not defined responsibilities and authorities for the management of non-conforming work, (NC). The lab has developed a register for recording the non-conforming work, but lab not checking the significance. (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 03-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The root cause of this non-conformance is that the procedure (QCL-LSP-14) was designed with a narrow focus on identifying non-conformities but missed addressing how to prevent or correct them, likely due to a lack of training or awareness about comprehensive quality management practices. - The lab's management overlooked the need to define clear roles and responsibilities for handling non-conforming work, likely due to a lack of awareness or focus on this aspect during system implementation. - The root cause is incomplete training needs analysis, which led to insufficient awareness of the importance of assessing the significance of non-conforming work. |  |  |
| - Proposed Action | Target Date: | 10-02-2025 |
| Corrective action for shortcomings on all the NCs has been taken by revising the procedure (QCL-LSP-14) and defined the responsibilities and authorities for the management of non-conforming work. The lab has revised the format on register and added the significance evaluation. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |