| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-06-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 07-02-2025 | NC No. 06 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has not developed a procedure for validation and verification of methods (NC). The raw data regarding the method validation is not maintained (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 07-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| - The lab management failed to establish clear responsibilities and oversight for the development of the procedure due to insufficient awareness and training on the importance of method validation and verification as part of the quality management system. - Insufficient training and a lack of clear procedures for maintaining raw data due to inadequate management focus on compliance requirements. |  |  |
| - Proposed Action | Target Date: | 14-02-2025 |
| Corrective action for shortcomings on both the NCs has been taken by developing the procedure for Validation and Verification of methods and maintained the raw data regarding method validation. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |