| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-07-02-2025 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 08-02-2025 | NC No. 07 |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The VAN Laboratory has not developed a lab procedure for control of technical record (QCL-LSP-20) (NC). ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 08-02-2025 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| The laboratory lacks a structured process to review and ensure compliance with ISO/IEC 17025:2017 documentation requirements, resulting in the omission of QCL-LSP-20 for control of technical records. |  |  |
| - Proposed Action | Target Date: | 14-02-2025 |
| Corrective action for shortcomings on the NC has been taken by developing the procedure for control of technical record (QCL-LSP-20). _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |