| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-01-07-2026 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 15-07-2026 | NC No. 01 TL |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has not defined the detail regarding range of lab activities carried out under the accreditation scope ISO/IEC 17025:2017 for testing of fertilizer. Lab needs to define and document all lab activities in its QMS Document (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 15-07-2026 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| The laboratory had applied for an extension of its accreditation scope; however, the parameters included in the proposed scope extension were not incorporated into the Quality Manual at the time of application. The laboratory intended to update the QMS documentation after receiving the recommendation/approval for the scope extension. Therefore, a defined mechanism, assigned responsibility, and review process for timely incorporation of scope-extension activities into the QMS documentation was not evident. |  |  |
| - Proposed Action | Target Date: | 10-08-2026 |
| The Quality Manual and relevant QMS documents will be revised to include the applied scope-extension parameters. A responsible person and review checklist will be defined to ensure that all future scope-extension activities are incorporated into the QMS before assessment. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |