| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-04-07-2026 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 20-07-2026 | NC No. 01 TA |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The authorization permit of Quality control manager (Mr. Himayat Hussain) Checked the authorization permit needs to revise as per JDs(QCL-JD-02 REV#01 Dated 24-09-24)of the QCM (NC). Mr.Himayat Hussain Quality control Manager vide authorization permit (QCL-FRM-2.01) as per standard clause 6.2.6 clause (a) and authorization related to the interpretation and implitation of the Decision rule/statement of conformity is missing as per clause 6.2.6(b) (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 20-07-2026 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| The authorization permit (QCL-FRM-2.01) was not completely reviewed and updated after revision of the QCM Job Description (QCL-JD-02 Rev.01). As a result, the required authorization for interpretation and implementation of the decision rule/statement of conformity as per ISO/IEC 17025 clause 6.2.6(b) was inadvertently omitted. |  |  |
| - Proposed Action | Target Date: | 20-08-2026 |
| The QCM authorization permit (QCL-FRM-2.01) will be revised in line with the updated Job Description (QCL-JD-02 Rev.01) and ISO/IEC 17025 clause 6.2.6. The missing authorization related to interpretation and implementation of the decision rule/statement of conformity will be incorporated and the revised permit will be reviewed and approved. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |