| Initiated by: Masab Rasheed | Department: QC Lab | CAR No. CA-05-07-2026 |
| --- | --- | --- |
| Designation: AQCM | CAR Initiated Date: 21-07-2026 | NC No. 02 TA |

CAR Initiated due to (Please tick the relevant appropriate box below)

PNAC Assessment                ☐ Complaint                 ☐ Accident/Incident              ☐  Internal Audit          ☐ Suggestion/Improvement      ☐  Technical Fault        ☐  Others

| - Description (to be filled by Initiator) |  |  |
| --- | --- | --- |
| The lab has developed the Equipment maintenance records sheet (QCL-FRM-4.03) and records related to Equipment maintenance is not maintained (NC) ____________ Signatures |  |  |
| Significance/Priority Level | Urgent ☐ Normal ☐ Non-significance |  |
| Accepted ☐ Rejected | Assigned to: Masab Rasheed Date: 21-07-2026 |  |
| * If accepted then Manager QC to mark it to concerned person for Root Cause Analysis. |  |  |
| - Root Cause Analysis (where required) |  |  |
| Regular monitoring and verification of equipment maintenance records was not adequately implemented. |  |  |
| - Proposed Action | Target Date: | 21-08-2026 |
| Responsibility for maintaining QCL-FRM-4.03 will be assigned, and periodic review of equipment maintenance records was included in the laboratory equipment monitoring system. _____________________ Name or Signatures (Person who carried out Root Cause Analysis and Proposed Corrective Action) |  |  |
| - Verification by Manager QC for implementation & Effectiveness |  |  |
| Is Proposed Action Implemented? YES ☐ NO |  | Is it Effective? YES ☐ NO |
| Remarks (If any): CAR closing date: __________________________ Manager QC Sign: _________________________ |  |  |