| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has a developed a procedure (QCL-LSP-14) for the non- conforming work. The procedure normally describes about the non-conformities. (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 10-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why did employees not assess the significance of non-conforming work? | Employees were not aware of the correct procedure for identifying and assessing non-conforming work. |
| WHY | Why were employees not aware of the procedure for assessing non-conforming work? | Because the necessary training on the importance of non-conforming work and its significance was not provided adequately. |
| WHY | Why was adequate training on non-conforming work not provided? | A complete training needs analysis was not conducted to identify the specific training gaps in this area. |
| WHY | Why was a complete training needs analysis not conducted? | Because the training needs analysis process was either incomplete or not thorough enough to cover all critical areas, such as non-conforming work assessment. |
| WHY | Why was the training needs analysis process incomplete or not thorough enough? | Because there was no standardized process in place for ensuring the training needs analysis addressed all critical areas, including non-conforming work, or it wasn't reviewed regularly for thoroughness. |
| How | How can we correct the issue of insufficient awareness about non-conforming work? | By conducting a comprehensive training needs analysis to identify and address any gaps in knowledge about non-conforming work, specifically focusing on assessment and the significance of non-conformities. |
| How | How can we prevent this issue in the future? | By implementing a standardized review process for the TNA, ensuring that non-conforming work and its importance are always included. Additionally, providing ongoing training and reminders to ensure that employees are consistently aware of the significance of non-conforming work. |
| Root Cause: The root cause is incomplete training needs analysis, which led to insufficient awareness of the importance of assessing the significance of non-conforming work. |  |  |

RCA Statement: The root cause is incomplete training needs analysis, which led to insufficient awareness of the importance of assessing the significance of non-conforming work.

Reviewed by: _______________________	                           Evaluated by: ______ ______