| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed a master list (QCL/FRM/20.02) for internal, but lab not controlled the external origin documents like standards, PNAC/ILAC guidelines etc. (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 17-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why does the lab not control external origin documents? | The lab hasn't implemented a formal process for managing external documents. |
| WHY | Why hasn't the lab implemented a formal process? | There is no specific policy or procedure in place to address the control of external origin documents. |
| WHY | Why is there no policy or procedure for controlling external documents? | The lab has focused primarily on internal documents and overlooked the need for external document management. |
| WHY | Why has the lab focused only on internal documents? | The lab may not have recognized the importance of controlling external documents or may have assumed they are automatically up to date or compliant. |
| WHY | Why has the lab not recognized the importance of controlling external documents? | There might be a gap in training or awareness regarding the importance of managing external documents in line with quality standards. |
| How | How can the lab implement control over external origin documents? | The lab should develop a procedure that defines how to receive, review, store, and update external documents. This includes assigning responsibility for monitoring updates and ensuring they’re reflected in lab procedures. |
| How | How can the lab ensure the procedure is effective? | Conduct training for all relevant staff on the new procedure and implement regular audits to ensure compliance with document control processes, including external documents. |
| Root Cause: The lab hasn't set up a system to control and manage external documents, like standards and guidelines. They've focused only on internal documents and didn't realize that external documents need to be controlled in the same way to stay compliant and up-to-date. |  |  |

RCA Statement: The lab hasn't set up a system to control and manage external documents, like standards and guidelines. They've focused only on internal documents and didn't realize that external documents need to be controlled in the same way to stay compliant and up-to-date.

Reviewed by: _______________________	                           Evaluated by: ______ ______