| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The training record related to Measurement of uncertainty is not available in folder (QCL-FIL-20) (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the training record related to "Measurement of Uncertainty" not available in the folder (QCL-FIL-20)? | The responsible person did not file the training record in the specified folder. |
| WHY | Why did the responsible person not file the record in the specified folder? | They were either unaware of the requirement or overlooked the filing process. |
| WHY | Why were they unaware of the requirement or overlooked the process? | There was no clear procedure or checklist for managing and filing training records. |
| WHY | Why is there no clear procedure or checklist for managing and filing training records? | Because the documentation and record-keeping process for training sessions is not adequately defined or standardized. |
| WHY | Why is the process not adequately defined or standardized? | The importance of proper record management was not emphasized during process design or staff training. |
| How | How can the issue be corrected? | - Retrieve the missing training record from alternative sources (e.g., trainer logs, emails, or other records). - Ensure the record is promptly filed in the correct folder (QCL-FIL-20). - Verify the completeness of other training records to identify any similar gaps. |
| How | How can recurrence of the issue be prevented? | - Develop and implement a standardized procedure for filing training records, including a checklist and timeline for documentation. - Provide training to relevant staff members on the importance of record-keeping and the new procedure. - Regularly audit training records to ensure compliance with the procedure. |
| Root Cause: Lack of a standardized process or procedure for the proper documentation and filing of training records related to 'Measurement of Uncertainty' in the designated folder (QCL-FIL-20). |  |  |

RCA Statement: Lack of a standardized process or procedure for the proper documentation and filing of training records related to 'Measurement of Uncertainty' in the designated folder (QCL-FIL-20).

Reviewed by: _______________________	                           Evaluated by: ______ ______