| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The records related to trainer evaluation is also missing (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 01-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why are the records missing? | They were not documented or properly stored. |
| WHY | Why were they not documented or properly stored? | There is no clear process or responsibility assigned for maintaining these records. |
| WHY | Why was there no clear process or responsibility? | The training evaluation process was not included in the lab system procedures (LSP). |
| WHY | Why was the process not included in the LSP? | The importance of trainer evaluation records was overlooked during the LSP development phase. |
| WHY | Why was it overlooked? | There was a lack of awareness about the compliance requirements or quality standards for trainer evaluation. |
| How | How can this issue be prevented in the future? | - Establish a formal process for documenting and storing trainer evaluation records. - Assign clear roles and responsibilities for record maintenance. |
| How | How can this issue be detected early if it recurs? | - Conduct periodic audits of training records. - Implement a checklist or digital tracking system to ensure all records are completed and stored after every training session. |
| Root Cause: Lack of a defined process and accountability for documenting and storing trainer evaluation records, coupled with inadequate awareness of the importance of compliance and quality requirements. |  |  |

RCA Statement: Lack of a defined process and accountability for documenting and storing trainer evaluation records, coupled with inadequate awareness of the importance of compliance and quality requirements.

Reviewed by: _______________________	                           Evaluated by: ______ ______