| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The VAN laboratory is providing interpretation like ok but the criteria regarding ok and not ok not mentioned in procedure (QCL-LSP-19) (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 11-02-2025 |  | Submission Date |  | 18-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the NC occurring? | The NC occurs because the laboratory is providing interpretations (labeled as "OK" or "Not OK") without clear criteria being outlined in the procedure (QCL-LSP-19). |
| WHY | Why are clear criteria not included in the procedure? | The procedure (QCL-LSP-19) does not specify the exact criteria for interpretation of results (OK/Not OK). |
| WHY | Why was the procedure not updated to include these criteria? | The procedure was either developed without considering the need for clear criteria for interpretation, or the criteria were assumed to be understood and therefore not explicitly stated. |
| WHY | Why were these assumptions made? | The laboratory may have relied on historical knowledge or previous practices where such interpretations were based on tacit understanding or verbal communication. |
| WHY | Why was there a lack of written and documented guidelines? | There was possibly an oversight or gap in the procedure review process, or the emphasis on documentation of these specific criteria was not deemed necessary during the procedure’s creation or revision. |
| How | How can this issue be addressed? | The procedure (QCL-LSP-19) needs to be updated to clearly define the criteria for “OK” and “Not OK” interpretations. This should include objective metrics, conditions, or thresholds to ensure consistent and transparent decision-making. |
| How | How will this update prevent future non-compliance? | By explicitly defining these criteria, there will be a standardized approach that all lab personnel can follow. This will ensure that all interpretations are consistent, and any variations or ambiguities are eliminated, reducing the risk of incorrect results or interpretations in the future. |
| Root Cause: The root cause of this non-compliance (NC) is that the procedure QCL-LSP-19 does not clearly define the criteria for labeling results as "OK" or "Not OK." Without these clear guidelines, lab staff may interpret results in different ways, leading to inconsistency and confusion. |  |  |

RCA Statement: The root cause of this non-compliance (NC) is that the procedure QCL-LSP-19 does not clearly define the criteria for labeling results as "OK" or "Not OK." Without these clear guidelines, lab staff may interpret results in different ways, leading to inconsistency and confusion.

Reviewed by: _______________________	                           Evaluated by: ______ ______