| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has a procedure for reporting of results but not mentioned about amended/duplicate report issuance not mentioned in procedure (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 11-02-2025 |  | Submission Date |  | 18-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the procedure for amended/duplicate report issuance not mentioned? | The procedure was not updated to include amendments or duplicate reports. |
| WHY | Why was the procedure not updated? | There was no formal process for recognizing the need to update the procedure when changes or amendments to reports occur. |
| WHY | Why was there no formal process for recognizing the need to update? | The lab may have focused more on primary report generation and not on situations requiring amendments or duplicates. |
| WHY | Why was the focus only on primary report generation? | There may not have been a clear recognition of the need to account for amendments or duplicates, possibly due to the lack of comprehensive training or awareness. |
| WHY | Why was there a lack of training or awareness? | There might be a gap in the training materials or the procedure development process, which didn’t include detailed scenarios like amendments or duplicates in reporting. |
| How | How can the issue of missing procedure for amended/duplicate reports be resolved? | The procedure can be updated to include specific guidelines on how to handle amended or duplicate reports, specifying roles, timelines, and conditions under which they should be issued. |
| How | How can we ensure that the new procedure is followed? | We can conduct training sessions for all involved personnel to familiarize them with the updated procedure. Regular audits can also be done to ensure compliance with the new steps for amendments and duplicates. |
| Root Cause: The root cause of this non-conformance (NC) is that the lab's procedure did not include instructions on how to handle amended or duplicate reports. This happened because the procedure focused mainly on the initial report creation and didn't account for situations where reports need to be changed or duplicated. |  |  |

RCA Statement: The root cause of this non-conformance (NC) is that the lab's procedure did not include instructions on how to handle amended or duplicate reports. This happened because the procedure focused mainly on the initial report creation and didn't account for situations where reports need to be changed or duplicated.

Reviewed by: _______________________	                           Evaluated by: ______ ______