| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has not developed and maintained the log books for analytical weighing balance (QCL-INS-01) and Block heater (QC-INS-023) (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 08-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the logbook not developed and maintained? | Lack of clarity in responsibilities for logbook creation and maintenance. |
| WHY | Why is there a lack of clarity in responsibilities? | There is no proper training or communication regarding LSP requirements for equipment logbooks. |
| WHY | Why is there no proper training or communication? | The training schedule does not cover all aspects of equipment management, including logbook requirements. |
| WHY | Why does the training schedule not cover these aspects? | Training modules are outdated and have not been revised to include the requirement for specific equipment logbooks. |
| WHY | Why are the training modules outdated? | No formal mechanism is in place for periodic review and updating of training content. |
| How | How to prevent this issue from recurring? | - Revise SOPs to explicitly include the requirement for logbook creation and maintenance for all equipment. - Provide a template or standardized format for logbooks. - Assign responsibility to a specific individual (e.g., equipment owner or quality officer) for managing logbooks. |
| How | How to ensure compliance moving forward? | - Establish a routine monitoring and audit process to check the development and maintenance of logbooks. - Take immediate corrective action for any identified non-compliance and communicate the findings to the team. |
| Root Cause: Lack of awareness and clarity among responsible personnel regarding the requirement to develop and maintain logbooks for analytical weighing balance (QCL-INS-01) and block heater (QC-INS-023), primarily due to gaps in training, LSP communication, and oversight mechanisms. |  |  |

RCA Statement: Lack of awareness and clarity among responsible personnel regarding the requirement to develop and maintain logbooks for analytical weighing balance (QCL-INS-01) and block heater (QC-INS-023), primarily due to gaps in training, LSP communication, and oversight mechanisms.

Reviewed by: _______________________	                           Evaluated by: ______ ______