| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The Calibration plan (QCL-FRM-4.04) for the year 2024 is available in file no (QCL-FIL-22). the lab has developed the Equipment maintenance records sheet (QCL-FRM-4.03) and records related to Equipment maintenance is not maintained (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 03-02-2025 |  | Submission Date |  | 07-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why are the maintenance records not maintained? | Maintenance activities are performed, but the team fails to document them. |
| WHY | Why does the team fail to document maintenance activities? | The team is unaware or not trained on the requirement to maintain records. |
| WHY | Why are they unaware or untrained about the requirement? | There is a lack of communication and training regarding the importance of record-keeping practices. |
| WHY | Why is there a lack of communication and training? | The management did not prioritize training or include record-keeping in the Laboratory system procedures (LSPs). |
| WHY | Why was record-keeping not prioritized in LSP or training? | No formal review mechanism exists to identify gaps in the implementation of maintenance procedures |
| How | How can the issue of unmaintained records be resolved? | Implement immediate training for the team on the importance of maintaining equipment maintenance records. Ensure all team members understand how to use the Equipment Maintenance Records Sheet (QCL-FRM-4.03) |
| How | How can the issue be prevented in the future? | Develop a formal LSP and checklist that mandates the completion of maintenance records after every activity. Establish a regular review and audit system to ensure compliance with record-keeping requirements. |
| Root Cause: The absence of a systematic review and training program on the maintenance procedure and record-keeping requirements. |  |  |

RCA Statement: The absence of a systematic review and training program on the maintenance procedure and record-keeping requirements.

Reviewed by: _______________________	                           Evaluated by: ______ ______