| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed the simple receiving form (QCL-FRM-12.01) and mentioned the criteria for sample acceptance/rejection like improper sample receiving, costumer/sample information is not appropriate, capability and resources do not meet the requirement, out of the detection limit of the equipment etc. but the acceptance criteria is not maintained in the procedure, lab needs to revise the procedure (QCL-LSP-22) (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 04-02-2025 |  | Submission Date |  | 10-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why are the acceptance criteria not mentioned in the procedure (QCL-LSP-22)? | The lab focused on developing the form (QCL-FRM-12.01) but overlooked updating the procedure |
| WHY | Why was the procedure (QCL-LSP-22) overlooked during the form development? | There was no defined process for ensuring alignment between forms and procedures. |
| WHY | Why is there no defined process for alignment? | The lab lacks a review mechanism to ensure procedural updates accompany new forms or documents. |
| WHY | Why is the review mechanism absent? | There is inadequate training or awareness among personnel about maintaining document consistency. |
| WHY | Why is there inadequate training? | The lab does not have a formal training program or checklist for document control and procedural updates. |
| How | How can the lab prevent a similar issue in the future? | Implement a document control procedure that mandates reviewing and updating related procedures whenever new forms or criteria are developed. |
| How | How can the lab ensure personnel are aware of the need for consistency? | Establish a training program to educate personnel on document control practices, emphasizing the importance of aligning forms, procedures, and criteria. |
| Root Cause: The lab does not have a structured review and training process for ensuring that procedural updates align with new forms and criteria. |  |  |

RCA Statement: The lab does not have a structured review and training process for ensuring that procedural updates align with new forms and criteria.

Reviewed by: _______________________	                           Evaluated by: ______ ______