| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has not developed a procedure for validation and verification of methods (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 07-02-2025 |  | Submission Date |  | 14-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was there no procedure for validation and verification of methods? | The lab management did not prioritize creating this procedure. |
| WHY | Why was the procedure not prioritized? | There was a lack of awareness or training on the importance of validation and verification processes. |
| WHY | Why was there a lack of awareness or training? | The management team failed to include method validation and verification in their quality management training program. |
| WHY | Why did the management fail to include this in the training program? | No specific individual or team was assigned responsibility for ensuring the completeness of the training program. |
| WHY | Why was responsibility not assigned? | The lab's organizational structure did not include clear accountability for quality system development and compliance. |
| How | How can this be prevented from recurring? | - Assign a qualified person/team (e.g., Quality Control Officer) to oversee the development of standard operating procedures (SOPs) for method validation and verification. - Include method validation and verification topics in regular training sessions for lab personnel. |
| How | How will the effectiveness of corrective actions be ensured? | - Conduct internal audits to ensure the procedure for validation and verification of methods is developed, implemented, and followed. - Regularly review training records and SOPs during management review meetings to confirm compliance and effectiveness. |
| Root Cause: The lab management failed to establish clear responsibilities and oversight for the development of the procedure due to insufficient awareness and training on the importance of method validation and verification as part of the quality management system. |  |  |

RCA Statement: The lab management failed to establish clear responsibilities and oversight for the development of the procedure due to insufficient awareness and training on the importance of method validation and verification as part of the quality management system.

Reviewed by: _______________________	                           Evaluated by: ______ ______