| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The raw data regarding the method validation is not maintained (NC). |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 07-02-2025 |  | Submission Date |  | 14-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why did the raw data regarding the method validation not get maintained? | There was no clear procedure or guideline for recording and maintaining the data. |
| WHY | Why was there no clear procedure or guideline for data maintenance? | The team did not consider data maintenance critical for the process. |
| WHY | Why was data maintenance not considered critical for the process? | There was a lack of training and awareness regarding regulatory and quality requirements. |
| WHY | Why was there a lack of training and awareness regarding regulatory requirements? | The training program for the team was insufficient and not properly reviewed for gaps. |
| WHY | Why was the training program insufficient? | Management did not prioritize continuous improvement and resource allocation for training. |
| How | How can we ensure the raw data regarding method validation is maintained going forward? | - Develop and implement a detailed Standard Operating Procedure (SOP) for recording and maintaining raw data. - Provide regular training sessions for employees on the importance of raw data maintenance and regulatory compliance. |
| How | How can we prevent this issue from recurring? | - Conduct periodic internal audits to ensure compliance with the new SOP. - Incorporate data maintenance requirements into routine performance checks and quality metrics. - Allocate sufficient resources for training and documentation tools. |
| Root Cause: Insufficient training and a lack of clear procedures for maintaining raw data due to inadequate management focus on compliance requirements. |  |  |

RCA Statement: Insufficient training and a lack of clear procedures for maintaining raw data due to inadequate management focus on compliance requirements.

Reviewed by: _______________________	                           Evaluated by: ______ ______