| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The raw data related to uncertainty measurements Nitrogen Phosphorus is not properly available (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 10-02-2025 |  | Submission Date |  | 15-02-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why is the raw data for uncertainty measurements of Nitrogen and Phosphorus not properly available? | The data collection process was not consistently followed. |
| WHY | Why was the data collection process not consistently followed? | Because there was insufficient training or understanding of the procedure by the personnel involved. |
| WHY | Why was there insufficient training or understanding of the procedure? | Because no formal training or refreshers were conducted after the procedure was updated or developed. |
| WHY | Why were no formal training or refreshers conducted? | There was no dedicated process to ensure that updated procedures are communicated and implemented effectively. |
| WHY | Why is there no dedicated process to ensure procedure implementation? | The organization lacks a structured system to track and monitor procedural compliance for quality control. |
| How | How can the immediate issue (non-compliance with procedure) be corrected? | - Conduct a thorough review of the procedure for measuring Nitrogen and Phosphorus uncertainty. - Organize immediate training sessions for relevant personnel to ensure they understand the procedure. - Perform a follow-up audit to verify compliance and accuracy of data collection. |
| How | How can this issue be prevented in the future? | - Implement a system for tracking procedural updates and their communication to all relevant staff. - Develop a regular training program, including refreshers and assessments, for procedures involving critical measurements. - Establish a quality assurance process to periodically review data collection and procedure adherence. |
| Root Cause: Lack of a structured system to ensure procedure compliance, training, and monitoring for quality control. |  |  |

RCA Statement: Lack of a structured system to ensure procedure compliance, training, and monitoring for quality control.

Reviewed by: _______________________	                           Evaluated by: ______ ______