| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lab has developed a procedure for sample disposal vide Doc# QCL-REG-08 but data missing. (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 17-06-2025 |  | Submission Date |  | 17-07-2025 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Documentation

Training

Training

Root Cause

Root Cause

Proper tools

Proper tools

Method

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was sample disposal data missing? | Because sample disposal activities were not consistently recorded. |
| WHY | Why were they not consistently recorded? | Because a controlled disposal register/form was not properly implemented or updated. |
| WHY | Why was the register/form not properly implemented? | Because responsibility for recording, verification, and review was not clearly assigned. |
| WHY | Why was responsibility not clearly followed? | Because Check/review on QCL-REG-08 implementation was insufficient. |
| WHY | Why was this not detected earlier? | Because periodic review of disposal records was not effectively included in routine supervision. |
| How | How did it happen? | Samples were disposed as per routine practice, but disposal details were not entered in a controlled register/form, and no regular verification was performed by responsible personnel. |
| How | How will recurrence be prevented? | A controlled Sample Disposal Register shall be implemented, responsibility shall be assigned to the concerned analyst/lab in-charge, staff shall be trained on QCL-REG-08, and monthly verification shall be performed by AQCM/QCM. |
| Root Cause: The sample disposal procedure was available, but its implementation was ineffective due to lack of unclear responsibility for recording/review, and insufficient monitoring of sample disposal records. |  |  |

RCA Statement: The sample disposal procedure was available, but its implementation was ineffective due to lack of unclear responsibility for recording/review, and insufficient monitoring of sample disposal records.

Reviewed by: _______________________	                           Evaluated by: ______ ______