| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has not defined the detail regarding range of lab activities carried out under the accreditation scope ISO/IEC 17025:2017 for testing of fertilizer. Lab needs to define and document all lab activities in its QMS Document (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 15-07-2026 |  | Submission Date |  | 10-08-2026 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why were the scope-extension parameters not included in the Quality Manual? | Because the laboratory planned to update the Quality Manual after receiving the recommendation/ approval for the scope extension. |
| WHY | Why was the update planned after recommendation/approval? | Because the additional parameters were considered proposed activities until the accreditation body reviewed the extension request. |
| WHY | Why were proposed activities not incorporated before the assessment? | Because the laboratory did not have a documented requirement specifying that proposed scope-extension activities must be incorporated into relevant QMS documents before assessment/application review. |
| WHY | Why was such a documented requirement not available? | Because responsibility and timelines for reviewing and updating QMS documents during scope extension were not clearly assigned. |
| WHY | Why were responsibility and timelines not clearly assigned? | Because the existing document-control and scope-management process did not include a specific checklist or review mechanism for scope-extension activities. |
| How | How did this NC occur? | The scope-extension parameters were treated as proposed activities and were therefore not immediately incorporated into the Quality Manual and related QMS documentation. |
| How | How will recurrence be prevented? | A formal scope-extension review mechanism will be established, including defined responsibilities, a document-review checklist, and mandatory verification of all relevant QMS documents before submission and assessment of any future scope-extension application. |
| Root Cause: The laboratory considered the scope-extension parameters as proposed activities and planned to incorporate them into the Quality Manual after receiving recommendation/approval from the accreditation body. However, the QMS did not clearly define when proposed scope-extension activities should be incorporated into the relevant documents, who would be responsible for the update, and how the completeness of documentation would be reviewed before submission of the scope-extension application. |  |  |

RCA Statement: The QMS did not define a clear mechanism, responsibility, and timeline for incorporating proposed scope-extension parameters into relevant QMS documentation before assessment.

Evaluated by: ____________                                       Reviewed by: _________________