| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The authorization permit of Quality control manager (Mr. Himayat Hussain) Checked the authorization permit needs to revise as per JDs(QCL-JD-02 REV#01 Dated 24-09-24)of the QCM (NC). Mr.Himayat Hussain Quality control Manager vide authorization permit (QCL-FRM-2.01) as per standard clause 6.2.6 clause (a) and authorization related to the interpretation and implitation of the Decision rule/statement of conformity is missing as per clause 6.2.6(b) (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 20-07-2026 |  | Submission Date |  | 20-08-2026 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why was the required authorization missing from the QCM authorization permit? | Because the authorization permit was not fully updated after revision of the QCM Job Description. |
| WHY | Why was the permit not fully updated? | Because all applicable requirements of ISO/IEC 17025 clause 6.2.6 were not cross-checked during revision |
| WHY | Why were all requirements not cross-checked? | Because there was no specific review checklist linking the Job Description, authorization permit, and applicable ISO/IEC 17025 requirements. |
| WHY | Why was such a checklist not available? | Because the existing personnel authorization review process did not specifically require documented cross-verification of these documents. |
| WHY | Why did the review process not require cross-verification? | Because the responsibility for ensuring alignment between revised Job Descriptions and authorization permits was not clearly defined in the review process. |
| How | How did the NC occur? | The QCM Job Description was revised, but the corresponding authorization permit was not completely reviewed and updated against all applicable authorization requirements. |
| How | How will recurrence be prevented? | The personnel authorization review process will be updated to require cross-checking of Job Descriptions, authorization permits, and applicable ISO/IEC 17025 requirements whenever any related document is revised. |
| Root Cause: The authorization permit (QCL-FRM-2.01) was not completely reviewed and updated after revision of the QCM Job Description (QCL-JD-02 Rev.01). As a result, the required authorization for interpretation and implementation of the decision rule/statement of conformity as per ISO/IEC 17025 clause 6.2.6(b) was inadvertently omitted. |  |  |

RCA Statement: The authorization permit (QCL-FRM-2.01) was not completely reviewed and updated after revision of the QCM Job Description (QCL-JD-02 Rev.01). As a result, the required authorization for interpretation and implementation of the decision rule/statement of conformity as per ISO/IEC 17025 clause 6.2.6(b) was inadvertently omitted.

Evaluated by: ____________                                       Reviewed by: _________________