| Non-Conformance Description |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The lab has developed the Equipment maintenance records sheet (QCL-FRM-4.03) and records related to Equipment maintenance is not maintained (NC) |  |  |  |  |  |  |  |  |
| RCA Team Members |  |  | Himayat Hussain (QCM), Masab Rasheed (AQCM) |  |  |  |  |  |
| RCA Team Lead / Head |  |  | Himayat Hussain (QCM) |  |  |  |  |  |
| RCA Start Date |  |  | 21-07-2026 |  | Submission Date |  | 21-08-2026 |  |
| Methodology / Tools Used |  |  |  |  |  |  |  |  |
| Cause & Effect Diagram | □ | 5WHY analysis |  | □ |  | 3W2H / 5W2H |  |  |

Cause Effect Diagram

Documentation

Training

Root Cause

Proper tools

Method

| 3W2H /5W2H | Phenomenon of Problem / Question | Explanation / Answer |
| --- | --- | --- |
| WHY | Why were maintenance records not maintained? | Because maintenance activities were performed but not regularly recorded on the approved form. |
| WHY | Why were activities not regularly recorded? | Because record updating was not followed after each maintenance activity. |
| WHY | Why was record updating not followed? | Because responsibility for maintaining the equipment maintenance record was not clearly monitored. |
| WHY | Why was monitoring not effective? | Because there was no regular check of equipment maintenance records. |
| WHY | Why was regular checking not carried out? | Because periodic verification of QCL-FRM-4.03 was not included in the routine equipment control process. |
| How | How did the NC occur? | Maintenance activities were not consistently documented on QCL-FRM-4.03. |
| How | How will recurrence be prevented? | A responsible person will update the maintenance record after each activity, and the records will be periodically reviewed by the Quality/Technical Manager. |
| Root Cause: Regular monitoring and verification of equipment maintenance records was not adequately implemented. |  |  |

RCA Statement: Regular monitoring and verification of equipment maintenance records was not adequately implemented.

Evaluated by: ____________                                       Reviewed by: _________________