| Audit Location: | VAN QC LAB |  |  |
| --- | --- | --- | --- |
| Department: | Quality |  |  |
| Audit team: |  |  |  |
| 1.) Team leader Mr. Himayat Hussain 2.) Team member Mr. Himayat Hussain |  | Date of audit: | 16-06-2025 |
| Audit Summary: |  |  |  |
| General observations: |  |  |  |
| - PPEs are available at proper Location - The fire extinguisher is present in lab - The procedures are following according to standard - Segregation of chemical found satisfactory - CRM placed in refrigerator - Fume ventilation system is available in lab |  |  |  |
| Description: |  |  |  |
| - Repeatability and probability of result are checked. - Standards are fulfilled - Quality control charts be followed - Environmental Conditions checked |  |  |  |
| Results/Findings: |  |  |  |
| - The overall team is expert to perform experiment by fulfill standard - All the instruments are calibrated |  |  |  |
| Remarks: |  |  |  |
| - Overall performance satisfactory - Further Improvement required for efficient implementation of ISO/IEC:17025-2017 |  |  |  |

| Prepared By: Masab Rasheed | Reviewed By: Himayat Hussain | Approved By: Ahmed Umair |
| --- | --- | --- |
| AQCM | QCM | CEO |
| Date: | Date: | Date: |