|  | Murree Sparkletts Water Testing Laboratory | Doc. No. | MS-LAB-F-36 |
| --- | --- | --- | --- |
|  |  | Original Issue dt: | 15-03-2019 |
|  |  | Rev.# | 01 |
|  |  | Rev. date | 25-03-2021 |
|  | Customer Agreement &Requisition Form | Page No. | 1/1 |

Serial #:----------------------                                     Lab. Id: -------------------------                        Date: -----------------------------

| Customer Details |  |  |  |
| --- | --- | --- | --- |
| Name |  | Organization |  |
| Address |  | Contact |  |
| E-mail |  | Cell # |  |

| Sample Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample Id |  |  |  | Sample type | Bottle Water/ Waste Water/Tap Water |
| Sample Condition | Acceptable | Non acceptable |  | Sample taken time |  |
| Sampling date/time |  |  |  | Production date/Time |  |
| Urgency | Normal |  | Urgent | Sample Location |  |

Test Examination Requested:

| Chlorine | Total Alkalinity | Ozone/CO2 | Calcium | Iron | pH | Zinc as (Zn) |
| --- | --- | --- | --- | --- | --- | --- |
| Chlorine (R.W) | Total Hardness | Magnesium | Sulphates | Chlorides | Potassium | Chlorine After Carbon |
| Nitrite (NO2) | TDS | Sodium | Fluoride (F) | Arsenic (As) | Nitrates (NO3) | Temperature |
| Chlorine (A.S) | Appearance Color | Hardness (A.S) | Taste | Odor |  |  |

*only analyzed water sample and as per defined range. MS-LAB-F-21A

Compliance Testing Service Capability

Accept □ (Laboratory has ability to analyze as per scope define water and waste water) Reject □ (As below criteria) Note: The decision rule for the statement of conformity being used is zero guard band rule also referred to as the simple decision rule. Pass will be reported whenever the measured result and measuring uncertainty is within permissible limit (Legal Standard PSQCA4639 Bottled Drinking Water). Fail will be reported when the measured result and measuring uncertainty is out of permissible limit. (Legal Standard PSQCA4639 Bottled Drinking Water) Conditionally pass If the measuring result plus or minus and reported uncertainty most likely towards pass category and minimum portion fall in fail side then , the result will be Conditionally pass Conditionally fail: If the measuring result plus or minus and reported uncertainty most likely towards fail category and minimum portion fall in pass side,the result will be Conditionally fail. Murree Sparkletts water testing Laboratory follow the confidence level 95%,

If the sample become reject, here tick reason □ Improper sample receiving □ Customer/ sample information is not appropriate. □ Capability and resources to not meet requirements □ Out of detecting limit of equipments □Information and data handling policies/procedures are not adequate. □Require testing services are not in the scope of accreditation. □ The testing equipments are not adequate for the scope and volume of services offered

To be filled by QCM/MR (Murree Sparkletts Water Testing Lab):

| Customer Name |  |
| --- | --- |
| Date |  |
| Signature |  |

| Final Recommendation |  |
| --- | --- |
| HOD Signature |  |
| Date |  |
| Signature |  |