| Sr. No. | Nutrient | Magruder | VAN | Method | Analyst | Register # |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Boron | 2.5 | 2.51 | Spectrophotometric | Masab | 113 |
| 2 | Boron | 2.5 | 2.49 | Spectrophotometric | Tabish | 114 |
| 3 | Boron | 2.5 | 2.53 | Spectrophotometric | Mubeen | 115 |