| Sr. No. | Nutrient | Magruder | VAN | Method | Analyst | Register # |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | K2O | 21.5 | 21.45 | Flame Photometer | Tabish | 144 |
| 2 | K2O | 21.5 | 21.67 | Flame Photometer | Mubeen | 145 |
| 3 | K2O | 21.5 | 21.61 | Flame Photometer | Masab | 146 |