# Standard Operating Procedure for

# Selection, Competence, Training, Supervision and Authorization of Personnel

# Clauses 6.1, 6.2

#### Copyright

The copyright of this procedure, together with all confidential information contained herein is the sole property of Murree Sparkletts Water Testing Laboratory.

It may be copied in full or in parts only by the Management / personnel and only for the purpose of Company related activities. Disclosure and copying of any information contained within this procedure to any person (s) outside the employee of company without written permission/authorization of the QC Manager or General Manager is strictly prohibited.

Drafted by:             	         ______________________________		26 January, 2023

Assistant Quality Control Manager

(DMR)

Reviewed & Approved by:                 _________________________                           26 January, 2023

Quality Control Manager

(MR)

Amended Sheet

| S.NO | DESCRIPTION OF CHANGE | REVISION # | REVISION DATE | Name/Signature QCM |
| --- | --- | --- | --- | --- |
| 01 | Change Signature Authority | 01 | 10-08-2022 | Minhas Azeem |

- Purpose:

This procedure covers the selection, authorization, competence, training and supervision of personnel working in MSWTL and continually improvement & effectiveness of management   system.

2.0. Scope

This procedure is applicable to MSWTL which is under the scope of ISO/IEC 17025-2017 and addresses the requirement of clause 6.1, 6.2 respectively.

- Definition, Abbreviation and Concepts:

- MS – Murree Sparkletts

- MR – Management Representative

- QCM- Quality Control Manager

- MSWTL- Murree Sparkletts Water Testing Laboratory

- HOD- Head of Department

- QF- Quality forums

- Responsibilities and Authorities

The primary responsibility for implementation of this procedure resets with QC Manager/MR while the AQCM/DMR and Analyst ensures the regular implementation of this procedure.

- Procedure

  - The requirement for hiring in Murree Sparkletts Water Testing Laboratory is identified by Quality Control Manager and Factory Manager. The request for new hiring is communicated to Assistant Human Resource Manager

  - AMHR communicate to General Manager and take approval for vacant position/new hiring.

  - After approval, the position is advertised in the local newspapers and social media. The CVs and certificates are submitted within the due date.

  - The CVs are short-listed by Administration based on the requirements of the job position. Short-listed candidates are issued call for interview.

  - A panel of interviewer is informed for interview and assess the candidates through Application for Employment Form (MS-LAB-F-12). The Interview panel consists of following members:

- General Manager

- Factory Manager

- Quality Control Manager

- Group HMR

  - The designated panel interview the candidates. Each panel member assesses the candidate and gives his comments and recommendations in interview rating form MS-LAB-F-12A after the completion of interviews these recommendations are submitted to Chief Executive. If required, short listed candidates are re-interviewed for final screening and selection.

  - The job requirements and specifications for a position (e.g., minimum qualification, experience and other requirements related to the job position) are defined in the concerned job description.

.

  - Manager Administration settles the terms and conditions with the selected candidates (After approval from the Management).

  - The candidate initially hires on temporary basis for three months probationary period after probation period his/her performance reviews and assessed by his departmental head. In case of satisfactory performance, he is hired on permanent basis (MS-LAB-F-13).

  - Manager Administration maintains the personal files of personnels, which includes their CV s, Experience certificates, Educational certificates, and Job Description and training records.

QCM/FM

Assistant Manager HR

Group Manager HR

General Manager

Flow Diagram for Hiring New Personal

Chief Executive

- Hiring Criteria

  - Quality Control Manager

- QCM must be MSC/M-Phil in Chemistry / Food Technologist degree from HEC recognised institute.

- Minimum five year experience in Beverages/ Bottled Drinking Water industry.

- Previous experience in production or manufacturing.

- Strong attention to detail, observation, organizational, and leadership skills.

- In-depth knowledge of quality control procedures and legal standards.

- Excellent communication and listening skills.

  - Assistant Quality Control Manager

- BSC/MSC in Chemistry / Food Technologist degree from HEC recognised institute.

- Minimum five year experience in Beverages/ Bottled Drinking Water industry.

- Previous experience in production or manufacturing.

- Strong attention to detail, observation, organizational, and leadership skills.

- In-depth knowledge of quality control procedures and legal standards. Excellent communication and listening skills

  - Quality Control Officer/Chemist

- A Bachelor's degree in Chemistry or related field, with further education being advantageous.

- Two years’ experience in scientific research and laboratory work may be advantageous.

- Proficiency with computers and scientific equipment.

- Strong problem-solving, critical thinking and analytical skills.

- Good presentation, documentation, and reporting skills.

- Good verbal and written communication skills.

- Strong technical skills

  - Asst. Quality Control Officer

- FSc/BSC and equivalent from HEC recognised institute.

- Minimum two year experience in Beverages/ water plant industry.

- Proficiency with computers and scientific equipment.

- Strong problem-solving, critical thinking and analytical skills.

- Good verbal and written communication skills.

- Strong technical skills.*

- Authorization:

6.1.  Quality Control Manager responsible to authorize following activities:

a) Development, modification, verification and validation of methods

b) Analysis of results, including statements of conformity or opinions and interpretations

c) Report, review and authorization of results.* Further description and authorization is describes in job description (MS-Jd-01).

6.2. Assistant Quality Control Manager responsible to authorize following activities:

- The AQCM is responsible for proper operation of the laboratory, revision of the work flow during the performance of analytical services, surveillance of the implementation and validation of new analytical instructions, as well as for reviewing and approving analytical and other reports. Further description and authorization is describes in job description (MS-Jd-01).

- The AQCM is responsible for creating and maintaining the Quality System, ensuring that all of the activities covered by the scope of the Quality System are performed in compliance with ISO/IEC 17025:2017.

6.3. Analyst/QCO

- Analyst responsible to conduct authorize chemical tests.

- Further activities perform by Analyst describe in Job description.(MS-Jd-01)

- Training and Competency of personnel

  - Orientation to New Employees

Admin Officer provides Orientation to every newly-recruited employee that includes:

    - MSWTL Policies & Procedures

    - Communicate duties

    - Responsibilities and authorities

    - Organizational Structure

- Competency, Training & Awareness

  - All the personals working in Murree Sparkletts Water Testing Laboratory are trained for perform analytical tests activities and handling the apparatus.

  - Competency for handling the significant Aspects / Hazards. QCM retains the record of competency. (MS-LAB-F-05).

  - QC Manager is responsible to ensure the awareness, competence requirements have been defined and met. The associated records of competency are retained by the HR / MR as relevant for fulfilling the requirement of competency assure the new hire and experience  training,

- Competence Criteria for Technical Experts and Lead Auditor

The following have been determined as the competence criteria for Technical Experts:

  - Strong comprehensive working knowledge

  - Technical knowledge of requirements related to the conformity assessment activities;

  - Quality work and working experience as a lead auditor ISO/IEC 17025-2017-2017

  - An internal auditor must keep all the documentation confidential

  - Dependability/ accountability and professionalism

  - Open minded and analytical skills to enable the individual to view a process or system

  - Qualification, working experience, awareness  of job, training records

  - Activities; and Language proficiency, note-taking skills.

- Competency Assessment Process

A consistent standard for evaluation of competency should be applied to all employees.

  - Competence evaluation schedule communicate to all personnel working in MSWTL. (MS-LAB-F-14).

  - The performance of each personnel working in MSWTL evaluate and noted on QF (F-05) and retain record.

  - The areas requiring competency in the laboratory have been defined in competency log book (MS-LAB-F87).

  - The competency of analytical activity determines by providing the blind sample to different personnel(analysts) who perform analytical activities and results are noted in QF(F-05A).

  - The blind sample results remain confidential and communicate after completion competency assessment.

  - The assessor fill in the corresponding checklist (MS-LAB-F-05) by directly observing the employee and checking    the different records needed for the assessment. The assessor fills the competency assessment logbook (MS-LAB-F-87).

- New Employee

  - For a new employee, direct observations used to assess the employee's ability to accurately follow the laboratory procedure and note in Competence evaluation form (MS-LAB-F-05). An assessment of competence is done twice in the first year of employment and annually thereafter.

- Experienced Employee

An evaluation for ongoing competency for an experienced employee is performed by:

  - Directly observing performance of routine laboratory tests;

  - Monitoring test result documentation and reporting processes;

  - Reviewing intermediate test results, QC records, proficiency testing results, and preventive maintenance records;

  - Directly observing instrument maintenance performance and function validation;

## 13.0. Competency Assessment Failure

13.1. If an employee fails one or more areas of the competency assessment, the assessor analyzes the problem so that the proper corrective measures can be identified and implemented.

13.2. Analysis of the problem starts with inspection of the protocols used for laboratory practice. The protocols should be clear and concise; if they are inadequate or confusing, this may account for the employee’s competency failure.

  - In proficiency testing, it should be ensured that the proficiency sample is adequate and that a problem with the sample itself is not the cause of competency failure.

    - Actions that can be taken with an employee who fails competency include:

14.1. In cause of failure of competency assessment, the Quality Control Manager takes decision, temporary halted the assign duties and authorities of failure personal and reschedule the competence monitoring. Competency assessment must be specific for each job description.

14.2. Competency failure personnel Re-read the protocols, procedures and discuss it with the supervisor in order to clarify any misinterpretations;

14.3. Observe other trained and competent personnel’s working in laboratory

14.4. Practice the failed protocol with known specimens;

14.5. Correctly retest the specimen originally tested during the failed competency assessment. Reinstitution of formal training (if necessary)

14.6. If the personnel continuous drop from competency assessment twice a time, the employee permanently removed from selected duties and reassigned to another work area.

15.0. Internal Training

15.1. The QCM is responsible for internal training of Laboratory Personnel.

15.2. QCM plans training Schedule (MS-09-F-04) and arranges training sessions of employees.

15.3. The training attendance of employees in the internal training sessions is recorded on the Training Attendance Sheet (MS-LAB-F-07). These sheets, containing information on the content of the training, and when and to whom it was provided, are retained by HR department.

15.3. After completion of training course the QCM initiate the performance evaluation exam (F-10A).

15.5. At the end of training QC Manager conduct an oral examination (MS-LAB-F-10) to check the effectiveness of training and noted in QF Training Effectiveness Evaluation Sheet (MS-LAB-F-09) through appropriate methods.

6.0. External Training

6.1. General Manager / QCM / Factory Manager are responsible for external training of employees.

6.2. QCM plans training Schedule and arranges external training sessions of employees and maintain record QF (F-11)

6.3. After completion of course, the concerned person submits a copy of course certificate to AMHR. These certificates are filed in the personal record and the training records of concerned employees are updated.*

17.0. Continual Identification of Training Needs

Training needs of employees are continually identified on Training Need Assessment (MS- LAB-F-10 A) QF by QCM as a result of following:

- Changes in process, operations and technological up-gradation;

- Newly incorporated or revised ISO/IEC 17025-2017-2017,

- Changes in laws and regulations;

- Unsatisfactory performance, major service failure

- Results of monitoring, measuring and review activities;

- Corrective and/or Preventive Actions;

- Enactment of new nationally and internationally acknowledged standards.

- Non-achievement of periodic planning, targets and objectives

- Revised Risk Assessments

- Incident Investigation Outcomes

- Change in responsibility is based on the skill evaluation, which is kept as the base to analyse his functional competency against the requirement for the relevant function or position

18.0 Performance Evaluation

Performance of every employee is analyzed, evaluated and assessed at the following occasions:

- Confirmation of the employee

- Promotion of the employee

- Periodic Increment of the employee

- Progress Evaluation

- Target Date for achieving target/objective

19.0. Following provides the basis of performance evaluation:

- Progress towards ISO/IEC 17025-2017 Objectives

- Achievement and/or Completion of specific tasks, assignments and targets

- Management’s expectations

- Disciplinarily Compliance

- Contribution towards improvement of ISO/IEC 17025-2017 Management System

19.1. A structured approach to determine training and development needs; cost-effective procurement and/or development of training courses or program MSWTL based on needs and evaluated in terms of criteria laid down from time to time.

19.2. Attendance and/or presentation of training programs according to training planning schedule.

19.3. The evaluation of training in terms of trainee reaction, learning, practical application, and results achieved;

19.4. Similarly, continuous programs of staff training plane and implemented whenever it is deemed expedient or based on Training need analysis.

19.5. The Department of Human Resources provides advice and assistance on training activities, and it is responsible for administrative and operative co-ordination of the training process and programs

20.0. Personnel Supervision and Monitoring:

Supervision is communication between two or more staff, one of whom is a direct supervisor/manager. Supervision can be:

i.	Planned/ formal supervision - pre-arranged sessions with an agreed agenda.

ii.	Informal/ unplanned supervision – a response to a task or event when it is inappropriate to wait for the next planned supervision;

20.1. QCM is to be involved in supervising lab staff that they directly manage as they are responsible for managing performance, training and development and Annual Performance Reviews for their staff.

20.2. Analytical activity determine by providing the blind sample to analysts who perform analytical activities.

20.3. The blind sample results remain confidential and communicate after completion supervision monitoring

20.4. The assessor fill in the corresponding checklist (MS-LAB-F-16) by directly observing the employee working, protocol handling and gives final remarks in QF-16.

20.4. Supervision provides an opportunity to:

- Monitor progress of lab works (testing, intermediate checks, reporting etc.)

- Reflect on the effectiveness of recent training and development activities contributing to competence, and identify any outstanding needs.

- Provide feedback on performance.

- Provide support, direction, advice and guidance on individual cases, staff and management issues.

- Develop skills and understanding.

- Ensure lab working is consistently in practice and relate to ISO 17025:2017.

20.5. QCM must define the planned frequency of supervision in QF-15 with each member of staff directly supervises.

20.4. This program recorded in the written and all area of laboratory activates mentioned in supervision program and review annually.

20.5. Dates and times arranged in advance. The frequency and duration of supervision sessions be dependent on the nature of the staff member’s role and responsibilities; for residential and fieldwork staff this should be one hour a month as a baseline.

20.6. New staff, those with a particularly heavy or challenging caseload or those who manage a number of staff should be offered longer or more frequent meetings; those who carry less responsibility may need shorter or less frequent meetings.

20.7. Additional unplanned supervision also be available to all staff as may be required, e.g. following an incident of concern or completion of a piece of work.

20.8. QCM is responsible for ensuring that:

- All members of staff receive regular quality supervision and closely monitor competence of their employee and kept record in Supervision QF-5-15-16 that is helpful in annual review or assessment.

- Work standards expected are clearly stated and agreed

- Planned/Unplanned all supervision meeting should be headed by QCM

20.9. Murree Sparkletts Water Testing Lab spersonnel is responsible for:

- Reflecting and learning from their work experience and training and development opportunities

- Providing evidence of the work done, including the quality of work in relation to standards expected.

- Preparing for and taking part in supervision under the arrangements agreed

- Taking any action agreed in supervision, to improve performance and enhance their effectiveness.

- Records

- Records (MS-LAB-F-16) on planned supervision sessions should be kept by those involved.

- These records should be signed and agreed by the manager and staff member, and should outline the issues discussed, decisions reached and action agreed.

- Supervision records are the property of the employer and should be available for management examination when requested.

.

Reference Documents:

| Job description | MS-LAB-JD-01 |
| --- | --- |
| Application for Employment | MS-LAB-F-12 |
| Interview Rating form | MS-LAB-F-12A |
| Joining report | MS-LAB-13 |
| Authorization Matrix | MS-LAB-F-04 |
| Management Structure | MS-LAB-OGL-02 |
| Signatories Authority | MS-LAB-F-99 |

| Staff list | MS-LAB-F-14 |
| --- | --- |
| Competency monitoring schedule | MS-LAB-F-88 |
| Competency Assessment Log book | MS-LAB-F-87 |
| Competency Evaluation Form | MS-LAB-F-05 |
| Competence Criteria and evaluation for internal auditor | MS-LAB-F-06 |
| Educational Certificates | MS-LAB-F-06A |
| Experience certificates | MS-LAB-F-06B |
| Training Schedule | MS- LAB-F-08 |
| Training attendance sheet | MS-LAB-F-07 |
| Oral Examination Form | MS-LAB-F-10 |
| Training evaluation Sheet | MS -LAB-F-09 |
| TNA form | MS- LAB-F-10A |
| External Training Record | MS- LAB -F-11 |

| Plan Supervision Program | MS-LAB-F-15 |
| --- | --- |
| Supervision Monitoring | MS-LAB-F-16 |
| Competence Evaluation Form | MS-LAB-F-05 |
| Supervision Monitoring Record | MS-LAB-F-16A |