Implement Sheet of Point Discuss in ISO/IEC17025-2017 Meeting/Training

| Sr. No. | Point Discuss in Meeting | Implement |
| --- | --- | --- |
| 1 | Impartiality Policy |  |
| 2 | Confidentiality Policy |  |
| 3 | Company Organogram |  |
| 4 | Laboratory Organogram |  |
| 5 | SECP Company Incorporation (Registration) |  |
| 6 | Capability of Laboratory |  |
| 7 | JDs Sample For QCM |  |
| 8 | Competence Criteria and Competence Requirements |  |
| 9 | Procedure for Competence |  |
| 10 | Method Verification |  |
| 11 | Authorization for Method Verification |  |
| 12 | Training Plan |  |
| 13 | 6.2.6 Include in JDs |  |
| 14 | Monitoring Competence Plan |  |
| 15 | Environmental Condition - Temperature Forms/Control Chart - Humidity Forms/Control Chart Light Level Forms/Control Chart |  |
| 16 | Equipment Maintenance Procedure - Equipment Maintenance Plan - Equipment Control Procedure - Equipment Calibration Plan - Calibration Program (Policy) 1) Calibration Frequency (Policies) 2) Calibration According to Schedule 3) Verification Intermediate Controls |  |
| 17 | Equipment Master List |  |
| 18 | 6.4.13 Information Included |  |
| 19 | Glass Thermometer, Thermocouple |  |
| 20 | Traceability: - Policy/Document |  |
| 21 | Communication Memo |  |
| 22 | Record Format |  |

Recommendations/Suggestions:

- Implementation of Standard Documents and Maintain the Record of Three Months.

- During Purchasing Minimum Three Quotations required.

- Amendment in Lab Report Format.

- All the Chemicals that are expired or Have no COA Mention them as R & D.

- Replace the Flame photometer because it takes too long time in reporting the result.

- Replace Oven because its condition is very poor and have no result accuracy.

- Before internal Audit maintain record as per ISO17025 of 1 months at least.

- Select an alternate Source for Calibration.